## PROJ
ID | R11
Name | Manchester Airport
Location | Manchester Airport
Year | 1996
Remarks
Reference Level | 75
Level Source | NGRF
Groundwater depth
Reference | Curtis C (2001) Evolution of Piling Design and Techniques in Mudstone at Manchester Airport. In Proceedings of 26th Annual Members' Conference, St. Louis, MO, pp.3-16

## LOCA
Hole ID | Easting (X) | Northing (Y) | Ground Level (Z) | Final depth | Co-ordinate Source | Location Remarks
LOCA_ID | LOCA_NATE | LOCA_NATN | LOCA_GL | LOCA_FDEP | LOCA_SOU | LOCA_REM
ID | m | m | m | m
SITE | 382000 | 384900 | 0
Tension |  |  | 0
XU 06 |  |  | 0
XT 14 |  |  | 0
XO 02 |  |  | 0
D6 03 |  |  | 0
XAF 02 |  |  | 0
Tripod |  |  | 0
52 |  |  | 0
49 |  |  | 0
102 |  |  | 0
14 |  |  | 0
125 |  |  | 0
148 |  |  | 0
P1 |  |  | 0
P2 |  |  | 0
P3 |  |  | 0
SITE_DRIFT |  |  | 0 |  |  | SPTs in the Drift
SITE_ROCK |  |  | 0 |  |  | SPTS in the Mudstone

## GEOL
Hole ID | Top Depth | Base Depth | Legend code | Geology code | General description of stratum
LOCA_ID | GEOL_TOP | GEOL_BASE | GEOL_LEG | GEOL_GEOL | GEOL_DESC
ID | m | m
Tension | 0 | 1.5 | 103 | MGR | Made Ground
Tension | 1.5 | 3.5 | 201 | TILL | Glacial Clay
Tension | 3.5 | 4 | 801 | MMG | Mudstone layer 1
Tension | 4 | 5.2 | 801 | MMG | Mudstone layer 2
Tension | 5.2 | 6.8 | 801 | MMG | Mudstone layer 3
XU 06 | 0 | 1 | 103 | MGR | Made Ground (assumed)
XU 06 | 1 | 5.5 | 201 | TILL | Clay
XU 06 | 5.5 | 8.5 | 801 | MMG | Mudstone
XT 14 | 0 | 1 | 103 | MGR | Made Ground (assumed)
XT 14 | 1 | 4.2 | 201 | TILL | Clay
XT 14 | 4.2 | 8.5 | 801 | MMG | Mudstone
XO 02 | 0 | 1 | 103 | MGR | Made Ground (assumed)
XO 02 | 1 | 7.7 | 201 | TILL | Clay
XO 02 | 7.7 | 8.5 | 801 | MMG | Mudstone
D6 03 | 0 | 1 | 103 | MGR | Made Ground (assumed)
D6 03 | 1 | 7.1 | 201 | TILL | Clay
D6 03 | 7.1 | 7.6 | 801 | MMG | Mudstone
XAF 02 | 0 | 1 | 103 | MGR | Made Ground (assumed)
XAF 02 | 1 | 6 | 201 | TILL | Clay
XAF 02 | 6 | 8.6 | 801 | MMG | Mudstone
Tripod | 0 | 1.8 | 103 | MGR | Made Ground
Tripod | 1.8 | 5 | 201 | TILL | Soft to firm clay
Tripod | 5 | 6.2 | 801 | MMG | Mudstone
P1 | 0 | 1 | 103 | MGR | Made Ground (assumed)
P1 | 1 | 4.57 | 201 | TILL | Clay
P1 | 4.57 | 9.07 | 801 | MMG | Mudstone
P2 | 0 | 1 | 103 | MGR | Made Ground (assumed)
P2 | 1 | 3.66 | 201 | TILL | Clay
P2 | 3.66 | 6.1 | 801 | MMG | Mudstone
P3 | 0 | 1 | 103 | MGR | Made Ground (assumed)
P3 | 1 | 4.58 | 201 | TILL | Clay
P3 | 4.58 | 9.3 | 801 | MMG | Mudstone
52 | 0 | 1 | 103 | MGR | Made Ground (assumed)
52 | 1 | 5.75 | 201 | TILL | Clay
52 | 5.75 | 6.2 | 801 | MMG | Mudstone
49 | 0 | 1 | 103 | MGR | Made Ground (assumed)
49 | 1 | 5.3 | 201 | TILL | Clay
102 | 0 | 1 | 103 | MGR | Made Ground (assumed)
102 | 1 | 7.4 | 201 | TILL | Clay
102 | 7.4 | 7.6 | 801 | MMG | Mudstone
14 | 0 | 1 | 103 | MGR | Made Ground (assumed)
14 | 1 | 3.9 | 201 | TILL | Clay
14 | 3.9 | 5.5 | 801 | MMG | Mudstone
125 | 0 | 1 | 103 | MGR | Made Ground (assumed)
125 | 1 | 5.5 | 201 | TILL | Clay
125 | 5.5 | 6.4 | 801 | MMG | Mudstone
148 | 0 | 1 | 103 | MGR | Made Ground (assumed)
148 | 1 | 5.5 | 201 | TILL | Clay

## LLPL
Hole ID | Top Depth | Moisture Content | Liquid Limit | Plastic Limit | Plasticity Index | Percentage passing | Specimen Description
LOCA_ID | SAMP_TOP | LLPL_MC | LLPL_LL | LLPL_PL | LLPL_PI | LLPL_425 | SPEC_DESC
ID | m | % | % | % | % | %

## ISPT
Hole ID | Test Depth | Corrected | N Value
LOCA_ID | ISPT_TOP | ISPT_CORR | ISPT_SPTN
m
SITE_DRIFT | 0.85468 |  | 10.0017
SITE_DRIFT | 1.0154 |  | 14.5304
SITE_DRIFT | 1.3215 |  | 9.8608
SITE_DRIFT | 1.3911 |  | 3.9356
SITE_DRIFT | 1.5184 |  | 3.7838
SITE_DRIFT | 1.5003 |  | 11.1145
SITE_DRIFT | 1.5005 |  | 18.2898
SITE_DRIFT | 1.5097 |  | 24.3735
SITE_DRIFT | 1.516 |  | 35.1366
SITE_DRIFT | 1.6487 |  | 3.944
SITE_DRIFT | 1.6337 |  | 11.5867
SITE_DRIFT | 1.861 |  | 10.1902
SITE_DRIFT | 1.8763 |  | 16.8981
SITE_DRIFT | 2.0187 |  | 10.6633
SITE_DRIFT | 2.0127 |  | 18.1504
SITE_DRIFT | 2.019 |  | 28.9135
SITE_DRIFT | 2.0192 |  | 36.2448
SITE_DRIFT | 2.146 |  | 10.6674
SITE_DRIFT | 2.1431 |  | 18.3106
SITE_DRIFT | 2.2704 |  | 18.0027
SITE_DRIFT | 2.2672 |  | 10.6713
SITE_DRIFT | 2.3916 |  | 16.7587
SITE_DRIFT | 2.5368 |  | 4.1287
SITE_DRIFT | 2.537 |  | 11.616
SITE_DRIFT | 2.5312 |  | 22.5347
SITE_DRIFT | 2.6861 |  | 41.2579
SITE_DRIFT | 2.8494 |  | 20.3612
SITE_DRIFT | 3.04 |  | 3.677
SITE_DRIFT | 3.0462 |  | 10.6965
SITE_DRIFT | 3.1621 |  | 43.925
SITE_DRIFT | 3.0422 |  | 108.4989
SITE_DRIFT | 4.1123 |  | 111.8092
SITE_DRIFT | 4.8851 |  | 107.3106
SITE_DRIFT | 3.4382 |  | 56.1008
SITE_DRIFT | 3.653 |  | 35.5177
SITE_DRIFT | 3.4981 |  | 23.1899
SITE_DRIFT | 3.3313 |  | 17.5691
SITE_DRIFT | 3.413 |  | 12.5802
SITE_DRIFT | 3.3311 |  | 7.43
SITE_DRIFT | 3.5403 |  | 12.4283
SITE_DRIFT | 3.7741 |  | 32.8699
SITE_DRIFT | 4.2768 |  | 7.6166
SITE_DRIFT | 4.2649 |  | 16.9753
SITE_DRIFT | 4.2045 |  | 29.1402
SITE_DRIFT | 4.2046 |  | 36.1595
SITE_DRIFT | 4.3109 |  | 45.2101
SITE_DRIFT | 4.3769 |  | 12.1434
SITE_DRIFT | 4.5224 |  | 11.6802
SITE_DRIFT | 4.6405 |  | 9.0322
SITE_DRIFT | 4.7229 |  | 33.2126
SITE_DRIFT | 5.0292 |  | 41.9576
SITE_DRIFT | 5.193 |  | 46.9544
SITE_DRIFT | 5.742 |  | 62.2587
SITE_DRIFT | 6.0641 |  | 103.2931
SITE_DRIFT | 7.0356 |  | 29.0758
SITE_DRIFT | 7.5269 |  | 41.1025
SITE_ROCK | 4.2182 |  | 105.8852
SITE_ROCK | 4.1826 |  | 140.5126
SITE_ROCK | 5.3398 |  | 107.6373
SITE_ROCK | 5.555 |  | 107.4883
SITE_ROCK | 5.9419 |  | 56.6497
SITE_ROCK | 5.6855 |  | 116.6956
SITE_ROCK | 6.0498 |  | 141.5089
SITE_ROCK | 6.0592 |  | 156.0158
SITE_ROCK | 6.5495 |  | 123.8988
SITE_ROCK | 6.6592 |  | 149.9518
SITE_ROCK | 5.5208 |  | 212.6209
SITE_ROCK | 4.4295 |  | 208.686
SITE_ROCK | 4.8744 |  | 175.1637
SITE_ROCK | 4.8437 |  | 155.6646
SITE_ROCK | 4.0333 |  | 250.0092
SITE_ROCK | 4.7881 |  | 249.8776
SITE_ROCK | 6.1786 |  | 212.3302
SITE_ROCK | 6.1319 |  | 299.6802
SITE_ROCK | 5.0241 |  | 374.5171
SITE_ROCK | 6.2396 |  | 374.7124
SITE_ROCK | 6.3107 |  | 299.374
SITE_ROCK | 7.5217 |  | 374.5979
SITE_ROCK | 7.7703 |  | 374.6059
SITE_ROCK | 7.6475 |  | 300.6651
SITE_ROCK | 7.793 |  | 300.5139
SITE_ROCK | 8.1972 |  | 209.1198
SITE_ROCK | 7.8967 |  | 187.8962
SITE_ROCK | 7.5227 |  | 131.4176
SITE_ROCK | 8.0143 |  | 157.7949
SITE_ROCK | 8.2133 |  | 106.6383
SITE_ROCK | 8.6667 |  | 191.1968
SITE_ROCK | 9.1165 |  | 250.4855
SITE_ROCK | 9.6103 |  | 92.9568
SITE_ROCK | 9.6221 |  | 366.2426
SITE_ROCK | 9.6193 |  | 374.6657
SITE_ROCK | 9.6194 |  | 383.0889
SITE_ROCK | 9.7708 |  | 374.6706
SITE_ROCK | 9.8947 |  | 500.5544
SITE_ROCK | 9.7704 |  | 500.7064
SITE_ROCK | 9.6765 |  | 500.5473
SITE_ROCK | 9.5522 |  | 500.6993
SITE_ROCK | 9.3006 |  | 500.8471
SITE_ROCK | 9.1733 |  | 500.687
SITE_ROCK | 7.7153 |  | 500.4839
SITE_ROCK | 7.5759 |  | 500.4794
SITE_ROCK | 7.1 |  | 500.308
SITE_ROCK | 6.7059 |  | 500.4513
SITE_ROCK | 6.4725 |  | 500.1317
SITE_ROCK | 6.3604 |  | 500.2841
SITE_ROCK | 6.2331 |  | 500.28
SITE_ROCK | 6.0876 |  | 500.4313
SITE_ROCK | 5.3935 |  | 500.4088
SITE_ROCK | 4.9327 |  | 500.3939
SITE_ROCK | 4.6811 |  | 500.0738

## TRIG
BH ID | Top Depth | Sample Ref | Test Type | Sample Condition | Specimen Diameter | Undrained shear strength at failure | Remarks
LOCA_ID | SAMP_TOP | SAMP_REF | TRIG_TYPE | TRIG_COND | TRIT_SDIA | TRIT_CU | TRIG_REM
ID | m |  |  |  | mm | kPa

## CULN
BH ID | Trend Description | z0 definition | Gradient | Intercept
LOCA_ID | CULN_NAME | CULN_ZDEF | CULN_EQU1 | CULN_EQU2
ID |  | m | kPa/m | kPa

## CONS
BH ID | Top Depth | Sample Ref | Sample Condition | Coefficient of volume compressibility | Coefficient of consolidation
LOCA_ID | SAMP_TOP | SAMP_REF | CONS_COND | CONS_INMV | CONS_CVRT
ID | m |  |  | m²/MN | m²/yr

## WSTG
Hole ID | Depth to water strike | Remarks
LOCA_ID | WSTG_DPTH | WSTG_REM
ID | m

## PIEZ
BH ID | Top Depth | Sample Ref | Piezometric Head
LOCA_ID | SAMP_TOP | SAMP_REF | PIEZ_HEAD
ID | m |  | m

## PILE
Pile ID | Pile Material | Pile Type/Installation Method | Total Time to Install | Ground Level (Z) | Pile Length | Upstand | Cut-off-level (C.O.L) | Pile Base Level | Casing Base Depth | Casing Type | Pile Shaft Circumference | Pile Shaft Area | Pile Base Area | Pile Shape | Pile Key Dimension | Pile Base Dimension | Pile Undeream Height | Pile Wall Thickness | Working or test pile | Rake (1:n from vertical) | Design Working Load | Design Verification Load (DVL) | Concrete mix designation | Concrete strength class | Concrete design class | Supprt fluid type | Pile Cap Details | Pile Remarks
PILE_ID | PILE_CON | PILE_INST | PILE_TIM | PILE_GL | PILE_LEN | PILE_UPS | PILE_CUT | PILE_BASE | PILE_SLVD | PILE_CAS | PILE_CIRC | PILE_ASH | PILE_ABS | PILE_SHAP | PILE_DIM | PILE_BDIM | PILE_UNDH | PILE_THCK | PILE_PURP | PILE_RAKE | PILE_DSWL | PILE_DVL | PILE_CDES | PILE_CSTR | PILE_CDC | PILE_FYTP | PILE_CAP | PILE_REM
ID |  |  | Days | m | m | m | m | m | m |  | m | m² | m² |  | m | m | m | m |  |  | kN | kN
Tension | Concrete | CFA |  | 0 | 6.8 | [5 empty] | 2.3562 | 0.44179 | 0.44179 | Circular | 0.75 | 0.75
XU 06 | Concrete | CFA |  | 0 | 8.5 | [5 empty] | 1.4137 | 0.15904 | 0.15904 | Circular | 0.45 | 0.45
XT 14 | Concrete | CFA |  | 0 | 8.5 | [5 empty] | 1.4137 | 0.15904 | 0.15904 | Circular | 0.45 | 0.45
XO 02 | Concrete | CFA |  | 0 | 8.5 | [5 empty] | 1.885 | 0.28274 | 0.28274 | Circular | 0.6 | 0.6
D6 03 | Concrete | CFA |  | 0 | 7.6 | [5 empty] | 1.885 | 0.28274 | 0.28274 | Circular | 0.6 | 0.6
XAF 02 | Concrete | CFA |  | 0 | 8.6 | [5 empty] | 2.3562 | 0.44179 | 0.44179 | Circular | 0.75 | 0.75
Tripod | Concrete | Bored (Tripod) |  | 0 | 6.2 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3
52 | Steel | Driven (Tube) |  | 0 | 6.2 | 1.4 |  |  |  |  | 0.76969 | 0.004505 | 0.004505 | Circular | 0.245 | 0.245 |  | 0.012
49 | Steel | Driven (Tube) |  | 0 | 5.3 | 2.4 |  |  |  |  | 0.5592 | 0.0032421 | 0.0032421 | Circular | 0.178 | 0.178 |  | 0.012
102 | Steel | Driven (Tube) |  | 0 | 7.6 | 1.6 |  |  |  |  | 0.5592 | 0.0032421 | 0.0032421 | Circular | 0.178 | 0.178 |  | 0.012
14 | Steel | Driven (Tube) |  | 0 | 5.5 | 1.7 |  |  |  |  | 0.5592 | 0.0032421 | 0.0032421 | Circular | 0.178 | 0.178 |  | 0.012
125 | Steel | Driven (Tube) |  | 0 | 6.4 | 2.6 |  |  |  |  | 0.5592 | 0.0032421 | 0.0032421 | Circular | 0.178 | 0.178 |  | 0.012
148 | Steel | Driven (Tube) |  | 0 | 5.5 | 1.8 |  |  |  |  | 0.5592 | 0.0032421 | 0.0032421 | Circular | 0.178 | 0.178 |  | 0.012
P1 | Concrete | Bored |  | 0 | 9.07 | [5 empty] | 4.2412 | 1.4314 | 1.4314 | Circular | 1.35 | 1.35
P2 | Concrete | Bored |  | 0 | 6.1 | [5 empty] | 3.2987 | 0.8659 | 0.8659 | Circular | 1.05 | 1.05
P3 | Concrete | Bored |  | 0 | 9.3 | [5 empty] | 2.3562 | 0.44179 | 0.44179 | Circular | 0.75 | 0.75

## BORE
Pile ID | Time start of Prebore | Time Shaft Bored | Time Base Bored | Time Concreted | Diameter of Bore/outside casing | Bored Pile Remarks | Base or Shaft Grouting Details
PILE_ID | BORE_PRE | BORE_SHAF | BORE_BASE | BORE_CONC | BORE_DIA | BORE_REM | BORE_GRO
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm

## DRIV
Pile ID | Time to Pre Bore | Time to End of driving/Driving time | Rate of Driving During Installation | Time of cast in place | No. of Blows | Penetration Increment | Driving Shoe Details/Diameter | Base or Shaft Grouting Details | Driven Piles Remarks
PILE_ID | DRIV_PRE | DRIV_TIM | DRIV_INST | DRIV_CAST | DRIV_BLOW | DRIV_PEN | DRIV_SHOE | DRIV_GRO | DRIV_REM
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm/min | m |  | mm

## PTST
Pile ID | Test ID | Test loading type | Time from Install (No. of days) | Test rate | Pile Test Remarks
PILE_ID | PTST_ID | PTST_TYPE | PTST_TIM | PTST_RATE | PTST_REM
ID | ID |  | Days | mm/hr
Tension | 1 | ML
XU 06 | 1 | ML
XT 14 | 1 | ML
XO 02 | 1 | ML
D6 03 | 1 | ML
XAF 02 | 1 | ML
Tripod | 1 | ML
52 | 1 | CASE
52 | 2 | CAPWAP
49 | 1 | CASE
102 | 1 | CASE
14 | 1 | CASE
125 | 1 | CASE
125 | 2 | CAPWAP
148 | 1 | CASE
P1 | 1 | ML
P2 | 1 | ML
P3 | 1 | ML

## PSLT
PILE ID | Test ID | Load on Load cell 1 | Settlement at Load cell 1 | Time (seconds) | Load cell 2 Depth/Pile Length | Load on Load cell 2 | Settlement at Load cell 2 | Load cell 3 Depth/Pile Length | Load on Load cell 3 | Settlement at Load cell 3 | Load cell 4 Depth/Pile Length | Load on Load cell 4 | Settlement at Load cell 4 | Description
PILE_ID | PTST_ID | PSLT_LOA1 | PSLT_SET1 | PSTL_TIME | PSLT_LOC2 | PSLT_LOA2 | PSLT_SET2 | PSLT_LOC3 | PSLT_LOA3 | PSLT_SET3 | PSLT_LOC4 | PSLT_LOA4 | PSLT_SET4 | PSLT_DESC
ID | ID | kN | mm | Seconds |  | kN | mm |  | kN | mm |  | kN | mm
52 | 1 | 1350
52 | 2 | 1357
49 | 1 | 1140
102 | 1 | 1150
14 | 1 | 1240
125 | 1 | 840
125 | 2 | 974
148 | 1 | 920
P1 | 1 | 0 | 0
P1 | 1 | 2560 | 2.03
P1 | 1 | 3840 | 2.62
P2 | 1 | 0 | 0
P2 | 1 | 1180 | 2.34
P2 | 1 | 1800 | 5.05
P3 | 1 | 0 | 0
P3 | 1 | 1060 | 0.28
P3 | 1 | 1590 | 0.48
Tripod | 1 | 0 | 0
Tripod | 1 | 52.447 | 0.049392
Tripod | 1 | 159.7224 | 0.15524
Tripod | 1 | 220.3386 | 0.34746
Tripod | 1 | 254.8713 | 0.50938
Tripod | 1 | 301.9102 | 0.7324
Tripod | 1 | 382.1624 | 1.0071
Tripod | 1 | 435.0645 | 1.1841
Tripod | 1 | 449.3278 | 1.2299
Tripod | 1 | 510.6939 | 1.5507
Tripod | 1 | 530.3976 | 1.6883
Tripod | 1 | 599.9345 | 1.9141
Tripod | 1 | 659.4684 | 2.1891
Tripod | 1 | 684.447 | 2.2837
Tripod | 1 | 743.3137 | 2.4974
Tripod | 1 | 601.7163 | 2.4012
Tripod | 1 | 304.5004 | 1.8781
Tripod | 1 | 153.6777 | 1.5001
Tripod | 1 | 2.6519 | 0.95677
XU 06 | 1 | 0 | 0
XU 06 | 1 | 245.8716 | 0.41147
XU 06 | 1 | 495.7538 | 0.95356
XU 06 | 1 | 751.1311 | 2.1144
XU 06 | 1 | 1250.7068 | 5.4562
XU 06 | 1 | 1491.795 | 7.5148
XU 06 | 1 | 1239.4081 | 7.3434
XU 06 | 1 | 733.1699 | 6.2899
XU 06 | 1 | 249.7586 | 5.0248
XU 06 | 1 | 6.5566 | 3.6555
XT 14 | 1 | 0 | 0
XT 14 | 1 | 259.3888 | 0.33165
XT 14 | 1 | 499.6718 | 0.76972
XT 14 | 1 | 751.5254 | 1.4711
XT 14 | 1 | 998.2957 | 2.3716
XT 14 | 1 | 1251.057 | 3.3303
XT 14 | 1 | 1501.9807 | 4.7209
XT 14 | 1 | 1033.1883 | 4.2735
XT 14 | 1 | 847.6132 | 4.0369
XT 14 | 1 | 688.0842 | 3.8
XT 14 | 1 | 499.4366 | 3.4716
XT 14 | 1 | 4.4095 | 1.9064
XO 02 | 1 | 0 | 0
XO 02 | 1 | 377.2892 | 0.40011
XO 02 | 1 | 682.2392 | 0.97013
XO 02 | 1 | 779.79 | 1.1577
XO 02 | 1 | 1128.5921 | 2.084
XO 02 | 1 | 1384.7412 | 3.0248
XO 02 | 1 | 1503.8179 | 3.4365
XO 02 | 1 | 1896.0667 | 4.3372
XO 02 | 1 | 2248.5407 | 6.0678
XO 02 | 1 | 1953.4018 | 5.8834
XO 02 | 1 | 1616.3616 | 5.6071
XO 02 | 1 | 1401.5931 | 5.3825
XO 02 | 1 | 1066.8008 | 5.0144
XO 02 | 1 | 386.7026 | 3.8668
XO 02 | 1 | 5.7817 | 2.4006
D6 03 | 1 | 0 | 0
D6 03 | 1 | 378.5071 | 0.67554
D6 03 | 1 | 1135.4247 | 4.3058
D6 03 | 1 | 1504.7759 | 6.6277
D6 03 | 1 | 1568.9972 | 6.8593
D6 03 | 1 | 1875.6377 | 8.0059
D6 03 | 1 | 2243.5372 | 9.4648
D6 03 | 1 | 2195.7724 | 9.461
D6 03 | 1 | 1872.4836 | 9.1847
D6 03 | 1 | 1490.101 | 8.6034
D6 03 | 1 | 378.8917 | 6.2906
D6 03 | 1 | 3.4719 | 4.3028
XAF 02 | 1 | 0 | 0
XAF 02 | 1 | 512.659 | 0.36741
XAF 02 | 1 | 710.7413 | 0.63969
XAF 02 | 1 | 1064.928 | 1.1841
XAF 02 | 1 | 1395.1789 | 1.791
XAF 02 | 1 | 1575.0632 | 2.188
XAF 02 | 1 | 1968.6339 | 3.2394
XAF 02 | 1 | 2117.4611 | 3.5593
XAF 02 | 1 | 2363.8482 | 4.0557
XAF 02 | 1 | 2511.9577 | 4.3682
XAF 02 | 1 | 2686.6777 | 4.8828
XAF 02 | 1 | 2988.4878 | 5.7466
XAF 02 | 1 | 2768.5397 | 5.6579
XAF 02 | 1 | 2579.7162 | 5.5656
XAF 02 | 1 | 2181.1477 | 5.3001
XAF 02 | 1 | 1983.6912 | 5.1454
XAF 02 | 1 | 1796.4346 | 4.9099
XAF 02 | 1 | 1594.7152 | 4.6596
XAF 02 | 1 | 1408.8877 | 4.4461
XAF 02 | 1 | 1000.2356 | 4.1219
XAF 02 | 1 | 499.1694 | 3.5256
XAF 02 | 1 | 257.8455 | 3.0329
XAF 02 | 1 | 4.2362 | 2.5181
Tension | 1 | 0 | 0
Tension | 1 | 52.447 | 0.049392
Tension | 1 | 159.7224 | 0.15524
Tension | 1 | 220.3386 | 0.34746
Tension | 1 | 254.8713 | 0.50938
Tension | 1 | 301.9102 | 0.7324
Tension | 1 | 382.1624 | 1.0071
Tension | 1 | 435.0645 | 1.1841
Tension | 1 | 449.3278 | 1.2299
Tension | 1 | 510.6939 | 1.5507
Tension | 1 | 530.3976 | 1.6883
Tension | 1 | 599.9345 | 1.9141
Tension | 1 | 659.4684 | 2.1891
Tension | 1 | 684.447 | 2.2837
Tension | 1 | 743.3137 | 2.4974
Tension | 1 | 601.7163 | 2.4012
Tension | 1 | 304.5004 | 1.8781
Tension | 1 | 153.6777 | 1.5001
Tension | 1 | 2.6519 | 0.95677

## CTST
TEST_ID | Pile ID | Type of test/Size | Test age | Strength | Remarks
CTST_ID | PILE_ID | CTST_TYPE | CTST_AGE | CTST_STRN | CTST_REM
ID | ID | mm | Days | kPa

## CYCL
PILE ID | Test ID | Cycle No. | Qmin | Qmax | Duration of respective cycling between Qmin and Qmax Time (mins) | Cumulative number of cycle repetitions (n) | Total Settlement over duration of repetitive cycling (mm) | Description
PILE_ID | PTST_ID | CYCL_CYC | CYCL_LOA1 | CYCL_SET1 | CYCL_TIME | CYCL_REP | CYCL_SET1 | PSLT_DESC
ID | ID |  | kN | mm | Minutes |  | mm