## PROJ
ID | R38
Name | A review of pile test results and design from a London clay site
Location | Chattenden, Kent
Year | 2013
Remarks | Warning: datahard to read from greyscale graphs some pile data may be labelled incorrectly. Project concentrated on how the methods of pile installation effect the shaft friction.
Reference Level | 41
Level Source | UGR
Groundwater depth
Reference | Powell JIM and Skinner H (2013) A review of pile test results and design from a London clay site. In Proceedings of the 18th International Conference on Soil Mechanics and Geotechnical Engineering, Paris, pp. 2827-2830.

## LOCA
Hole ID | Easting (X) | Northing (Y) | Ground Level (Z) | Final depth | Co-ordinate Source | Location Remarks
LOCA_ID | LOCA_NATE | LOCA_NATN | LOCA_GL | LOCA_FDEP | LOCA_SOU | LOCA_REM
ID | m | m | m | m
SITE | 576193 | 171976 | 0

## GEOL
Hole ID | Top Depth | Base Depth | Legend code | Geology code | General description of stratum
LOCA_ID | GEOL_TOP | GEOL_BASE | GEOL_LEG | GEOL_GEOL | GEOL_DESC
ID | m | m
SITE | 0 | 3 | 201 | LC | Soft to firm fissured yellow brown CLAY with occasional rootlets.
SITE | 3 | 5 | 201 | LC | Stiff fissured light brown and light grey mottled CLAY.
SITE | 5 | 10 | 202 | LC | Firm to stiff fissured light brown CLAY with occasional yellow brown silt partings and scattered gypsum.
SITE | 10 | 12.5 | 202 | LC | Very stiff light brown CLAY with occasional yellow brown silt partings and scattered gypsum.
SITE | 12.5 | 16 | 201 | LC | Transition to stiff grey CLAY.

## LLPL
Hole ID | Top Depth | Moisture Content | Liquid Limit | Plastic Limit | Plasticity Index | Percentage passing | Specimen Description
LOCA_ID | SAMP_TOP | LLPL_MC | LLPL_LL | LLPL_PL | LLPL_PI | LLPL_425 | SPEC_DESC
ID | m | % | % | % | % | %
SITE | 0.65452 | 37.7215 | 85.3165 | 26.5823 | 58.7342
SITE | 1.5298 | 33.6709 | 88.3544 | 28.1013 | 60.2532
SITE | 1.5044 | 35.6962 | 88.3544 | 30.1266 | 58.2278
SITE | 2.2248 | 35.1899 | 88.3544 | 29.1139 | 59.2405
SITE | 2.6362 | 33.6709 | 88.3544 | 27.0886 | 61.2658
SITE | 2.9196 | 33.1646 | 88.3544 | 29.1139 | 59.2405
SITE | 3.5375 | 29.6203 | 91.8987 | 30.6329 | 61.2658
SITE | 3.9491 | 33.6709 | 93.9241 | 29.6203 | 64.3038
SITE | 4.3351 | 32.6582 | 87.8481 | 29.1139 | 58.7342
SITE | 7.1138 | 29.6203 | 76.7089 | 25.0633 | 51.6456
SITE | 7.4228 | 29.1139 | 78.7342 | 26.0759 | 52.6582
SITE | 9.4048 | 29.6203 | 87.8481 | 28.1013 | 59.7468
SITE | 13.1362 | 28.1013 | 85.8228 | 27.0886 | 58.7342
SITE | 15.4264 | 30.6329 | 91.8987 | 25.5696 | 66.3291
SITE | 0.83751 | 44.3038
SITE | 1.2218 | 33.1646
SITE | 1.711 | 35.1899
SITE | 2.0451 | 32.1519
SITE | 4.1038 | 31.1392
SITE | 4.5156 | 31.6456
SITE | 4.9012 | 29.1139
SITE | 4.9275 | 32.1519
SITE | 5.0561 | 32.1519
SITE | 5.1589 | 31.1392
SITE | 5.2364 | 32.6582
SITE | 5.622 | 30.1266
SITE | 5.8021 | 29.6203
SITE | 5.9054 | 32.1519
SITE | 6.0598 | 32.1519
SITE | 6.1109 | 29.6203
SITE | 6.2143 | 32.6582
SITE | 6.6256 | 29.6203
SITE | 6.8317 | 31.1392
SITE | 6.9602 | 29.6203
SITE | 7.012 | 32.1519
SITE | 7.2433 | 30.1266
SITE | 7.269 | 29.6203
SITE | 7.6038 | 31.1392
SITE | 7.784 | 31.6456
SITE | 7.9124 | 30.1266
SITE | 8.0414 | 32.1519
SITE | 8.1184 | 30.6329
SITE | 8.1959 | 32.1519
SITE | 8.9163 | 31.1392
SITE | 9.1216 | 27.5949
SITE | 9.2505 | 29.1139
SITE | 9.9197 | 29.6203
SITE | 15.1441 | 30.1266

## ISPT
Hole ID | Test Depth | Corrected | N Value
LOCA_ID | ISPT_TOP | ISPT_CORR | ISPT_SPTN
m

## TRIG
BH ID | Top Depth | Sample Ref | Test Type | Sample Condition | Specimen Diameter | Undrained shear strength at failure | Remarks
LOCA_ID | SAMP_TOP | SAMP_REF | TRIG_TYPE | TRIG_COND | TRIT_SDIA | TRIT_CU | TRIG_REM
ID | m |  |  |  | mm | kPa
SITE | 0.63603 |  | UNK |  | 100 | 39.2617
SITE | 0.79044 |  | UNK |  | 100 | 25.1678
SITE | 1.4853 |  | UNK |  | 100 | 54.3624
SITE | 1.4853 |  | UNK |  | 100 | 52.349
SITE | 1.4853 |  | UNK |  | 100 | 141.9463
SITE | 1.9743 |  | UNK |  | 100 | 118.7919
SITE | 2.2316 |  | UNK |  | 100 | 124.8322
SITE | 2.2059 |  | UNK |  | 100 | 45.302
SITE | 2.9007 |  | UNK |  | 100 | 59.396
SITE | 2.5662 |  | UNK |  | 100 | 139.9329
SITE | 2.7978 |  | UNK |  | 100 | 140.9396
SITE | 3.2868 |  | UNK |  | 100 | 109.7315
SITE | 3.5184 |  | UNK |  | 100 | 120.8054
SITE | 3.5956 |  | UNK |  | 100 | 65.4362
SITE | 3.8787 |  | UNK |  | 100 | 52.349
SITE | 4.0846 |  | UNK |  | 100 | 93.6242
SITE | 4.3162 |  | UNK |  | 100 | 77.5168
SITE | 5.0882 |  | UNK |  | 100 | 113.7584
SITE | 5.1912 |  | UNK |  | 100 | 70.4698
SITE | 5.8088 |  | UNK |  | 100 | 119.7987
SITE | 6.1691 |  | UNK |  | 100 | 82.5503
SITE | 6.0919 |  | UNK |  | 100 | 103.6913
SITE | 6.8125 |  | UNK |  | 100 | 89.5973
SITE | 7.8162 |  | UNK |  | 100 | 107.7181
SITE | 8.2279 |  | UNK |  | 100 | 81.5436
SITE | 8.125 |  | UNK |  | 100 | 124.8322
SITE | 9.4375 |  | UNK |  | 100 | 142.953
SITE | 9.1029 |  | UNK |  | 100 | 129.8658
SITE | 10.1066 |  | UNK |  | 100 | 166.1074
SITE | 13.0662 |  | UNK |  | 100 | 122.8188
SITE | 13.4265 |  | UNK |  | 100 | 132.8859
SITE | 15.3824 |  | UNK |  | 100 | 146.9799

## CULN
BH ID | Trend Description | z0 definition | Gradient | Intercept
LOCA_ID | CULN_NAME | CULN_ZDEF | CULN_EQU1 | CULN_EQU2
ID |  | m | kPa/m | kPa
SITE | Design Line | bgl | 0.0819 | -1.9701

## CONS
BH ID | Top Depth | Sample Ref | Sample Condition | Coefficient of volume compressibility | Coefficient of consolidation
LOCA_ID | SAMP_TOP | SAMP_REF | CONS_COND | CONS_INMV | CONS_CVRT
ID | m |  |  | m²/MN | m²/yr

## WSTG
Hole ID | Depth to water strike | Remarks
LOCA_ID | WSTG_DPTH | WSTG_REM
ID | m

## PIEZ
BH ID | Top Depth | Sample Ref | Piezometric Head
LOCA_ID | SAMP_TOP | SAMP_REF | PIEZ_HEAD
ID | m |  | m

## PILE
Pile ID | Pile Material | Pile Type/Installation Method | Total Time to Install | Ground Level (Z) | Pile Length | Upstand | Cut-off-level (C.O.L) | Pile Base Level | Casing Base Depth | Casing Type | Pile Shaft Circumference | Pile Shaft Area | Pile Base Area | Pile Shape | Pile Key Dimension | Pile Base Dimension | Pile Undeream Height | Pile Wall Thickness | Working or test pile | Rake (1:n from vertical) | Design Working Load | Design Verification Load (DVL) | Concrete mix designation | Concrete strength class | Concrete design class | Supprt fluid type | Pile Cap Details | Pile Remarks
PILE_ID | PILE_CON | PILE_INST | PILE_TIM | PILE_GL | PILE_LEN | PILE_UPS | PILE_CUT | PILE_BASE | PILE_SLVD | PILE_CAS | PILE_CIRC | PILE_ASH | PILE_ABS | PILE_SHAP | PILE_DIM | PILE_BDIM | PILE_UNDH | PILE_THCK | PILE_PURP | PILE_RAKE | PILE_DSWL | PILE_DVL | PILE_CDES | PILE_CSTR | PILE_CDC | PILE_FYTP | PILE_CAP | PILE_REM
ID |  |  | Days | m | m | m | m | m | m |  | m | m² | m² |  | m | m | m | m |  |  | kN | kN
T33 | Concrete | CFA |  |  | 10 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3
T34 | Concrete | CFA |  |  | 10 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3
T14 | Concrete | CFA |  |  | 10 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3
T13 | Concrete | CFA |  |  | 7 | [5 empty] | 1.2566 | 0.12566 | 0.12566 | Circular | 0.4 | 0.4
T15 | Concrete | CFA |  |  | 7 | [5 empty] | 1.2566 | 0.12566 | 0.12566 | Circular | 0.4 | 0.4
MC1 | Concrete | CFA |  |  | 9.5 | [5 empty] | 1.4137 | 0.15904 | 0.15904 | Circular | 0.45 | 0.45 | [11 empty] | Pile length describing length between 1.5 - 11m bgl.
MC2 | Concrete | CFA |  |  | 9.5 | [5 empty] | 1.4137 | 0.15904 | 0.15904 | Circular | 0.45 | 0.45 | [11 empty] | Pile length describing length between 1.5 - 11m bgl.
T16 | Concrete | Bored |  |  | 10 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3
T40 | Concrete | Bored |  |  | 7 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3
T46 | Concrete | Bored |  |  | 5.8 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3 | [11 empty] | Pile length describing length between 5.2 - 10m bgl.
T47 | Concrete | Bored |  |  | 5.8 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3 | [11 empty] | Pile length describing length between 5.2 - 10m bgl.
T30 |  | Displacement (Screw) |  |  | 7 | [5 empty] | 1.8 | 0.18 | 0.18 | Circular | 0.30/0.60 | 0.30/0.60 | [11 empty] | EV: supposing rectangular shape CIRC=2*0.3+2*0.6 , ASH=0.3*0.6
T35 |  | Displacement (Auger) |  |  | 9 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3
T36 |  | Displacement (Auger) |  |  | 7 | [5 empty] | 0.94248 | 0.070686 | 0.070686 | Circular | 0.3 | 0.3
TP1 | Concrete | Driven |  |  | 10 | [5 empty] | 0.86394 | 0.059396 | 0.059396 | Circular | 0.275 | 0.275
TP2 | Concrete | Driven |  |  | 10 | [5 empty] | 0.86394 | 0.059396 | 0.059396 | Circular | 0.275 | 0.275
unknown norm1 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm2 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm3 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm4 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm5 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm6 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm7 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm2_1 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm2_2 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm2_3 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm2_4 | [27 empty] | Raw data from graphs, some unable to differentiate
unknown norm2_5 | [27 empty] | Raw data from graphs, some unable to differentiate

## BORE
Pile ID | Time start of Prebore | Time Shaft Bored | Time Base Bored | Time Concreted | Diameter of Bore/outside casing | Bored Pile Remarks | Base or Shaft Grouting Details
PILE_ID | BORE_PRE | BORE_SHAF | BORE_BASE | BORE_CONC | BORE_DIA | BORE_REM | BORE_GRO
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm

## DRIV
Pile ID | Time to Pre Bore | Time to End of driving/Driving time | Rate of Driving During Installation | Time of cast in place | No. of Blows | Penetration Increment | Driving Shoe Details/Diameter | Base or Shaft Grouting Details | Driven Piles Remarks
PILE_ID | DRIV_PRE | DRIV_TIM | DRIV_INST | DRIV_CAST | DRIV_BLOW | DRIV_PEN | DRIV_SHOE | DRIV_GRO | DRIV_REM
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm/min | m |  | mm

## PTST
Pile ID | Test ID | Test loading type | Time from Install (No. of days) | Test rate | Pile Test Remarks
PILE_ID | PTST_ID | PTST_TYPE | PTST_TIM | PTST_RATE | PTST_REM
ID | ID |  | Days | mm/hr
T33 |  | ML |  |  | Test ages are loosly described to have been undertaken at mostly between 2.5-3.5 months and up to 5 months after installation.
T34 |  | ML
T14 |  | ML
T13 |  | ML
T15 |  | ML
MC1 |  | ML
MC2 |  | ML
T16 |  | ML
T40 |  | ML
T46 |  | ML
T47 |  | ML
T30 |  | ML
T35 |  | ML
T36 |  | ML
TP1 |  | ML
TP2 |  | ML

## PSLT
PILE ID | Test ID | Load on Load cell 1 | Settlement at Load cell 1 | Time (seconds) | Load cell 2 Depth/Pile Length | Load on Load cell 2 | Settlement at Load cell 2 | Load cell 3 Depth/Pile Length | Load on Load cell 3 | Settlement at Load cell 3 | Load cell 4 Depth/Pile Length | Load on Load cell 4 | Settlement at Load cell 4 | Description
PILE_ID | PTST_ID | PSLT_LOA1 | PSLT_SET1 | PSTL_TIME | PSLT_LOC2 | PSLT_LOA2 | PSLT_SET2 | PSLT_LOC3 | PSLT_LOA3 | PSLT_SET3 | PSLT_LOC4 | PSLT_LOA4 | PSLT_SET4 | PSLT_DESC
ID | ID | kN | mm | Seconds |  | kN | mm |  | kN | mm |  | kN | mm
T40 |  | 0 | 0
T40 |  | 24.1264 | 0.22649
T40 |  | 36.1127 | 0.24469
T40 |  | 45.9476 | 0.26289
T40 |  | 45.6403 | 0.33569
T40 |  | 58.5487 | 0.40849
T40 |  | 67.7689 | 0.46309
T40 |  | 71.1497 | 0.48129
T40 |  | 71.1497 | 0.53589
T40 |  | 79.4479 | 0.5541
T40 |  | 90.8196 | 0.5905
T40 |  | 96.6591 | 0.6087
T40 |  | 96.6591 | 0.6997
T40 |  | 103.7279 | 0.7361
T40 |  | 114.1776 | 0.7725
T40 |  | 120.3244 | 0.7907
T40 |  | 121.8611 | 0.9545
T40 |  | 125.5492 | 0.9727
T40 |  | 131.3887 | 0.9727
T40 |  | 146.1411 | 1.0273
T40 |  | 146.1411 | 1.2639
T40 |  | 154.132 | 1.3003
T40 |  | 171.3432 | 1.3549
T40 |  | 171.3432 | 1.5733
T40 |  | 179.0268 | 1.6279
T40 |  | 196.8526 | 1.7007
T40 |  | 196.5452 | 2.9019
T40 |  | 204.5361 | 2.9383
T40 |  | 214.0637 | 2.9929
T40 |  | 221.1326 | 3.0475
T40 |  | 220.5179 | 3.2113
T40 |  | 221.44 | 3.3569
T40 |  | 222.9767 | 3.5571
T40 |  | 222.0546 | 3.7027
T40 |  | 222.0546 | 3.8665
T40 |  | 221.44 | 4.0485
T40 |  | 221.1326 | 4.1759
T40 |  | 222.6693 | 4.3579
T40 |  | 222.0546 | 4.6127
T40 |  | 221.7473 | 4.8311
T40 |  | 221.44 | 4.9585
T40 |  | 221.7473 | 5.1223
T40 |  | 220.2106 | 5.3225
T40 |  | 219.9032 | 5.6502
T40 |  | 222.9767 | 5.905
T40 |  | 220.2106 | 6.2326
T40 |  | 220.2106 | 6.5056
T40 |  | 221.7473 | 6.7968
T40 |  | 219.9032 | 7.3246
T40 |  | 221.1326 | 7.9616
T40 |  | 221.44 | 8.7988
T40 |  | 220.8253 | 9.1264
T40 |  | 221.7473 | 9.5996
T40 |  | 221.44 | 10
T46 |  | 0 | 0
T46 |  | 4.3028 | 0.044489
T46 |  | 28.4804 | 0.11729
T46 |  | 46.9209 | 0.15369
T46 |  | 46.9209 | 0.20829
T46 |  | 65.3614 | 0.29929
T46 |  | 66.181 | 0.19009
T46 |  | 81.753 | 0.24469
T46 |  | 85.4411 | 0.6451
T46 |  | 105.111 | 0.7725
T46 |  | 106.3404 | 0.49949
T46 |  | 126.8298 | 0.5905
T46 |  | 147.7291 | 0.6633
T46 |  | 148.1389 | 0.7907
T46 |  | 166.9892 | 0.8635
T46 |  | 168.6283 | 0.9909
T46 |  | 194.4451 | 1.1001
T46 |  | 197.3136 | 1.4095
T46 |  | 221.4912 | 1.4459
T46 |  | 222.3108 | 1.7189
T46 |  | 247.3079 | 1.7735
T46 |  | 246.8981 | 2.0647
T46 |  | 275.9932 | 2.2649
T46 |  | 275.1736 | 4.8675
T46 |  | 295.2533 | 5.2497
T46 |  | 295.6631 | 7.5612
T46 |  | 294.8435 | 9.9636
T47 |  | 0 | 0
T47 |  | 6.14 | 0.026289
T47 |  | 34.5111 | 0.06269
T47 |  | 69.2339 | 0.20829
T47 |  | 66.6932 | 0.26289
T47 |  | 100.9926 | 0.35389
T47 |  | 101.4161 | 0.40849
T47 |  | 125.9761 | 0.42669
T47 |  | 151.383 | 0.5723
T47 |  | 153.5003 | 0.7543
T47 |  | 174.2493 | 0.7907
T47 |  | 175.9431 | 0.9363
T47 |  | 196.2686 | 1.0273
T47 |  | 198.3859 | 1.1547
T47 |  | 220.8287 | 1.2457
T47 |  | 218.288 | 1.3549
T47 |  | 240.3073 | 1.4823
T47 |  | 240.3073 | 1.7007
T47 |  | 262.7501 | 1.8281
T47 |  | 262.3267 | 2.1557
T47 |  | 281.3819 | 2.2649
T47 |  | 281.3819 | 3.0657
T47 |  | 307.6357 | 3.2841
T47 |  | 307.2123 | 4.5217
T47 |  | 307.6357 | 5.4681
T47 |  | 308.0592 | 6.6876
T47 |  | 307.6357 | 8.2892
T47 |  | 302.9778 | 10.0182
T16 |  | 0 | 0
T16 |  | 2.7661 | 0.008089
T16 |  | 33.5003 | 0.11729
T16 |  | 51.3261 | 0.11729
T16 |  | 70.3813 | 0.09909
T16 |  | 91.2806 | 0.11729
T16 |  | 91.2806 | 0.22649
T16 |  | 101.1155 | 0.22649
T16 |  | 123.2442 | 0.28109
T16 |  | 144.1434 | 0.39029
T16 |  | 181.6392 | 0.42669
T16 |  | 183.4832 | 0.53589
T16 |  | 198.8503 | 0.5541
T16 |  | 198.8503 | 0.6815
T16 |  | 220.9789 | 0.7361
T16 |  | 220.9789 | 0.8089
T16 |  | 257.86 | 0.8453
T16 |  | 259.0894 | 1.0819
T16 |  | 295.9704 | 1.1729
T16 |  | 316.8697 | 1.3731
T16 |  | 321.1725 | 1.2639
T16 |  | 348.8332 | 1.4823
T16 |  | 349.4479 | 1.7189
T16 |  | 370.9619 | 1.8099
T16 |  | 371.5766 | 2.1011
T16 |  | 408.4576 | 2.2467
T16 |  | 409.0723 | 2.8655
T16 |  | 449.0268 | 3.1021
T16 |  | 449.6414 | 4.2669
T16 |  | 450.8708 | 5.4135
T16 |  | 450.8708 | 6.906
T16 |  | 450.8708 | 8.908
T16 |  | 450.8708 | 9.9636
T30 |  | 0 | 0
T30 |  | 1.0062 | 0.0091743
T30 |  | 45.1922 | 0.15367
T30 |  | 45.2014 | 0.23624
T30 |  | 92.399 | 0.38073
T30 |  | 93.4212 | 0.54587
T30 |  | 144.6297 | 0.64908
T30 |  | 144.632 | 0.66972
T30 |  | 193.8419 | 0.8555
T30 |  | 193.8534 | 0.95872
T30 |  | 243.061 | 1.1239
T30 |  | 243.0725 | 1.2271
T30 |  | 294.297 | 1.4748
T30 |  | 294.3063 | 1.5573
T30 |  | 345.5239 | 1.7431
T30 |  | 344.5338 | 1.867
T30 |  | 395.7538 | 2.0734
T30 |  | 395.7768 | 2.2798
T30 |  | 444.989 | 2.4862
T30 |  | 442.9974 | 2.6307
T30 |  | 494.2243 | 2.8991
T30 |  | 495.2442 | 3.0436
T30 |  | 542.4625 | 3.3739
T30 |  | 546.5148 | 3.7041
T30 |  | 595.7362 | 3.9931
T30 |  | 595.7777 | 4.3647
T30 |  | 647.0114 | 4.695
T30 |  | 645.0981 | 5.5413
T30 |  | 694.3218 | 5.8509
T30 |  | 695.48 | 7.2339
T30 |  | 744.7083 | 7.5849
T30 |  | 745.9792 | 9.9794
unknown norm1 | [6 empty] | 0.028861 | 0.020408
unknown norm1 | [6 empty] | 0.13671 | 0.10204
unknown norm1 | [6 empty] | 0.19291 | 0.16327
unknown norm1 | [6 empty] | 0.28101 | 0.28571
unknown norm1 | [6 empty] | 0.33114 | 0.34694
unknown norm1 | [6 empty] | 0.33266 | 0.40816
unknown norm1 | [6 empty] | 0.44506 | 0.65306
unknown norm1 | [6 empty] | 0.44203 | 0.71429
unknown norm1 | [6 empty] | 0.55443 | 0.95918
unknown norm1 | [6 empty] | 0.55291 | 1.102
unknown norm1 | [6 empty] | 0.62278 | 1.2041
unknown norm1 | [6 empty] | 0.66532 | 1.2857
unknown norm1 | [6 empty] | 0.6638 | 1.8163
unknown norm1 | [6 empty] | 0.66532 | 2.1429
unknown norm1 | [6 empty] | 0.70481 | 2.2653
unknown norm1 | [6 empty] | 0.79139 | 2.5102
unknown norm1 | [6 empty] | 0.79595 | 3.2653
unknown norm1 | [6 empty] | 0.89468 | 3.6939
unknown norm1 | [6 empty] | 0.8962 | 5.6327
unknown norm1 | [6 empty] | 0.98734 | 5.9184
unknown norm1 | [6 empty] | 0.99342 | 6.2653
unknown norm1 | [6 empty] | 0.99342 | 7.0612
unknown norm1 | [6 empty] | 0.99342 | 7.9388
unknown norm1 | [6 empty] | 0.99646 | 9.9592
unknown norm2 | [6 empty] | 0.013671 | 0.020408
unknown norm2 | [6 empty] | 0.07443 | 0.061224
unknown norm2 | [6 empty] | 0.15494 | 0.081633
unknown norm2 | [6 empty] | 0.15342 | 0.16327
unknown norm2 | [6 empty] | 0.19291 | 0.2449
unknown norm2 | [6 empty] | 0.19443 | 0.32653
unknown norm2 | [6 empty] | 0.27342 | 0.44898
unknown norm2 | [6 empty] | 0.31443 | 0.55102
unknown norm2 | [6 empty] | 0.31443 | 0.63265
unknown norm2 | [6 empty] | 0.35544 | 0.69388
unknown norm2 | [6 empty] | 0.39342 | 0.79592
unknown norm2 | [6 empty] | 0.39342 | 0.89796
unknown norm2 | [6 empty] | 0.43595 | 0.95918
unknown norm2 | [6 empty] | 0.43595 | 1.0612
unknown norm2 | [6 empty] | 0.47696 | 1.0816
unknown norm2 | [6 empty] | 0.47696 | 1.1837
unknown norm2 | [6 empty] | 0.49519 | 1.2041
unknown norm2 | [6 empty] | 0.49367 | 1.2449
unknown norm2 | [6 empty] | 0.52861 | 1.3265
unknown norm2 | [6 empty] | 0.52709 | 1.6122
unknown norm2 | [6 empty] | 0.56354 | 1.6939
unknown norm2 | [6 empty] | 0.56354 | 1.8367
unknown norm2 | [6 empty] | 0.59848 | 1.9184
unknown norm2 | [6 empty] | 0.6 | 2.0408
unknown norm2 | [6 empty] | 0.63646 | 2.1837
unknown norm2 | [6 empty] | 0.63494 | 2.2857
unknown norm2 | [6 empty] | 0.66987 | 2.4082
unknown norm2 | [6 empty] | 0.67139 | 2.4898
unknown norm2 | [6 empty] | 0.70633 | 2.7143
unknown norm2 | [6 empty] | 0.70633 | 2.8163
unknown norm2 | [6 empty] | 0.74278 | 2.9592
unknown norm2 | [6 empty] | 0.74127 | 3.2041
unknown norm2 | [6 empty] | 0.78076 | 3.3469
unknown norm2 | [6 empty] | 0.78076 | 3.6939
unknown norm2 | [6 empty] | 0.84911 | 3.8776
unknown norm2 | [6 empty] | 0.84911 | 4.1837
unknown norm2 | [6 empty] | 0.88861 | 4.3469
unknown norm2 | [6 empty] | 0.88405 | 4.7347
unknown norm2 | [6 empty] | 0.92203 | 4.7959
unknown norm2 | [6 empty] | 0.92203 | 5.449
unknown norm2 | [6 empty] | 0.95848 | 5.5714
unknown norm2 | [6 empty] | 0.95544 | 6.102
unknown norm2 | [6 empty] | 0.99494 | 6.2857
unknown norm2 | [6 empty] | 0.99797 | 9.9796
unknown norm3 | [6 empty] | 0.065316 | 0.061224
unknown norm3 | [6 empty] | 0.11544 | 0.14286
unknown norm3 | [6 empty] | 0.19443 | 0.26531
unknown norm3 | [6 empty] | 0.20962 | 0.42857
unknown norm3 | [6 empty] | 0.29316 | 0.53061
unknown norm3 | [6 empty] | 0.2962 | 0.40816
unknown norm3 | [6 empty] | 0.31747 | 0.5102
unknown norm3 | [6 empty] | 0.35544 | 0.57143
unknown norm3 | [6 empty] | 0.35696 | 0.67347
unknown norm3 | [6 empty] | 0.37671 | 0.67347
unknown norm3 | [6 empty] | 0.50127 | 0.91837
unknown norm3 | [6 empty] | 0.50278 | 1.0612
unknown norm3 | [6 empty] | 0.6243 | 1.1429
unknown norm3 | [6 empty] | 0.62582 | 1.0408
unknown norm3 | [6 empty] | 0.75038 | 1.3878
unknown norm3 | [6 empty] | 0.7519 | 1.7347
unknown norm3 | [6 empty] | 0.87646 | 2.0612
unknown norm3 | [6 empty] | 0.87949 | 2.6327
unknown norm3 | [6 empty] | 1.0041 | 2.9592
unknown norm3 | [6 empty] | 1.001 | 10
unknown norm4 | [6 empty] | 0.060759 | 0.020408
unknown norm4 | [6 empty] | 0.13823 | 0.10204
unknown norm4 | [6 empty] | 0.1519 | 0.22449
unknown norm4 | [6 empty] | 0.2081 | 0.30612
unknown norm4 | [6 empty] | 0.25367 | 0.4898
unknown norm4 | [6 empty] | 0.31291 | 0.55102
unknown norm4 | [6 empty] | 0.31291 | 0.61224
unknown norm4 | [6 empty] | 0.35089 | 0.67347
unknown norm4 | [6 empty] | 0.35089 | 0.77551
unknown norm4 | [6 empty] | 0.3843 | 0.85714
unknown norm4 | [6 empty] | 0.38582 | 0.89796
unknown norm4 | [6 empty] | 0.4238 | 0.97959
unknown norm4 | [6 empty] | 0.4238 | 1.0408
unknown norm4 | [6 empty] | 0.47392 | 1.1224
unknown norm4 | [6 empty] | 0.47241 | 1.2041
unknown norm4 | [6 empty] | 0.51342 | 1.3265
unknown norm4 | [6 empty] | 0.51494 | 1.3878
unknown norm4 | [6 empty] | 0.55291 | 1.4898
unknown norm4 | [6 empty] | 0.55443 | 1.5306
unknown norm4 | [6 empty] | 0.59392 | 1.6122
unknown norm4 | [6 empty] | 0.59392 | 1.7347
unknown norm4 | [6 empty] | 0.67747 | 1.9184
unknown norm4 | [6 empty] | 0.67291 | 2.2653
unknown norm4 | [6 empty] | 0.71544 | 2.3061
unknown norm4 | [6 empty] | 0.71848 | 2.449
unknown norm4 | [6 empty] | 0.75494 | 2.5306
unknown norm4 | [6 empty] | 0.75646 | 2.6327
unknown norm4 | [6 empty] | 0.80051 | 2.7551
unknown norm4 | [6 empty] | 0.79595 | 2.9592
unknown norm4 | [6 empty] | 0.83848 | 3.0408
unknown norm4 | [6 empty] | 0.83544 | 3.5714
unknown norm4 | [6 empty] | 0.87342 | 3.7143
unknown norm4 | [6 empty] | 0.87494 | 3.898
unknown norm4 | [6 empty] | 0.91443 | 3.9184
unknown norm4 | [6 empty] | 0.91443 | 4.3469
unknown norm4 | [6 empty] | 0.95241 | 4.449
unknown norm4 | [6 empty] | 0.95696 | 5.2449
unknown norm4 | [6 empty] | 0.99494 | 5.3469
unknown norm4 | [6 empty] | 0.99797 | 10.0612
unknown norm5 | [6 empty] | 0.004557 | 0.10204
unknown norm5 | [6 empty] | 0.068354 | 0.10204
unknown norm5 | [6 empty] | 0.028861 | 0.14286
unknown norm5 | [6 empty] | 0.16557 | 0.2449
unknown norm5 | [6 empty] | 0.20506 | 0.34694
unknown norm5 | [6 empty] | 0.20506 | 0.44898
unknown norm5 | [6 empty] | 0.25367 | 0.46939
unknown norm5 | [6 empty] | 0.31291 | 0.59184
unknown norm5 | [6 empty] | 0.31291 | 0.67347
unknown norm5 | [6 empty] | 0.35089 | 0.69388
unknown norm5 | [6 empty] | 0.34937 | 0.7551
unknown norm5 | [6 empty] | 0.41772 | 0.95918
unknown norm5 | [6 empty] | 0.41924 | 1
unknown norm5 | [6 empty] | 0.45722 | 1.1224
unknown norm5 | [6 empty] | 0.46025 | 1.1633
unknown norm5 | [6 empty] | 0.51797 | 1.3265
unknown norm5 | [6 empty] | 0.51797 | 1.3878
unknown norm5 | [6 empty] | 0.55443 | 1.4898
unknown norm5 | [6 empty] | 0.55443 | 1.5102
unknown norm5 | [6 empty] | 0.59392 | 1.6327
unknown norm5 | [6 empty] | 0.59848 | 1.7347
unknown norm5 | [6 empty] | 0.67899 | 1.9388
unknown norm5 | [6 empty] | 0.67291 | 2.2857
unknown norm5 | [6 empty] | 0.71544 | 2.3469
unknown norm5 | [6 empty] | 0.71696 | 2.4694
unknown norm5 | [6 empty] | 0.75646 | 2.551
unknown norm5 | [6 empty] | 0.75646 | 2.6531
unknown norm5 | [6 empty] | 0.79899 | 2.8571
unknown norm5 | [6 empty] | 0.80051 | 2.9796
unknown norm5 | [6 empty] | 0.84152 | 3.0612
unknown norm5 | [6 empty] | 0.84152 | 3.3673
unknown norm5 | [6 empty] | 0.87797 | 3.4082
unknown norm5 | [6 empty] | 0.87646 | 3.551
unknown norm5 | [6 empty] | 0.92051 | 3.6122
unknown norm5 | [6 empty] | 0.92051 | 3.9796
unknown norm5 | [6 empty] | 0.95696 | 4.0408
unknown norm5 | [6 empty] | 0.96152 | 4.2449
unknown norm5 | [6 empty] | 0.99949 | 4.4286
unknown norm5 | [6 empty] | 0.99949 | 9.9796
unknown norm6 | [6 empty] | 0.033418 | 0.040816
unknown norm6 | [6 empty] | 0.077468 | 0.10204
unknown norm6 | [6 empty] | 0.11848 | 0.18367
unknown norm6 | [6 empty] | 0.21722 | 0.34694
unknown norm6 | [6 empty] | 0.29316 | 0.42857
unknown norm6 | [6 empty] | 0.29316 | 0.5102
unknown norm6 | [6 empty] | 0.31595 | 0.53061
unknown norm6 | [6 empty] | 0.39342 | 0.67347
unknown norm6 | [6 empty] | 0.39494 | 0.77551
unknown norm6 | [6 empty] | 0.49215 | 0.93878
unknown norm6 | [6 empty] | 0.49671 | 1.1429
unknown norm6 | [6 empty] | 0.59392 | 1.3061
unknown norm6 | [6 empty] | 0.59392 | 1.5714
unknown norm6 | [6 empty] | 0.6957 | 1.8367
unknown norm6 | [6 empty] | 0.69873 | 2.2245
unknown norm6 | [6 empty] | 0.7762 | 2.3878
unknown norm6 | [6 empty] | 0.7762 | 2.6122
unknown norm6 | [6 empty] | 0.88557 | 2.8163
unknown norm6 | [6 empty] | 0.89013 | 3.5918
unknown norm6 | [6 empty] | 0.99797 | 3.9796
unknown norm6 | [6 empty] | 0.99646 | 9.9796
unknown norm7 | [6 empty] | 0 | 0
unknown norm7 | [6 empty] | 0.082025 | 0.10204
unknown norm7 | [6 empty] | 0.14127 | 0.22449
unknown norm7 | [6 empty] | 0.17468 | 0.22449
unknown norm7 | [6 empty] | 0.22329 | 0.36735
unknown norm7 | [6 empty] | 0.29316 | 0.40816
unknown norm7 | [6 empty] | 0.35089 | 0.59184
unknown norm7 | [6 empty] | 0.37823 | 0.59184
unknown norm7 | [6 empty] | 0.2962 | 0.61224
unknown norm7 | [6 empty] | 0.45266 | 0.63265
unknown norm7 | [6 empty] | 0.46025 | 0.71429
unknown norm7 | [6 empty] | 0.52709 | 0.79592
unknown norm7 | [6 empty] | 0.5362 | 0.91837
unknown norm7 | [6 empty] | 0.54532 | 1
unknown norm7 | [6 empty] | 0.60911 | 1.0816
unknown norm7 | [6 empty] | 0.61519 | 1.2245
unknown norm7 | [6 empty] | 0.68962 | 1.3265
unknown norm7 | [6 empty] | 0.69114 | 1.7143
unknown norm7 | [6 empty] | 0.76709 | 1.7755
unknown norm7 | [6 empty] | 0.76861 | 1.9796
unknown norm7 | [6 empty] | 0.84608 | 2.1224
unknown norm7 | [6 empty] | 0.84608 | 2.6735
unknown norm7 | [6 empty] | 0.92203 | 2.7551
unknown norm7 | [6 empty] | 0.9281 | 4.449
unknown norm7 | [6 empty] | 0.99949 | 4.6531
unknown norm7 | [6 empty] | 0.99646 | 9.9592
unknown norm2_1 | [6 empty] | 0.0015479 | 0.0091743
unknown norm2_1 | [6 empty] | 0.069526 | 0.15367
unknown norm2_1 | [6 empty] | 0.069541 | 0.23624
unknown norm2_1 | [6 empty] | 0.14215 | 0.38073
unknown norm2_1 | [6 empty] | 0.14372 | 0.54587
unknown norm2_1 | [6 empty] | 0.22251 | 0.64908
unknown norm2_1 | [6 empty] | 0.22251 | 0.66972
unknown norm2_1 | [6 empty] | 0.29822 | 0.8555
unknown norm2_1 | [6 empty] | 0.29824 | 0.95872
unknown norm2_1 | [6 empty] | 0.37394 | 1.1239
unknown norm2_1 | [6 empty] | 0.37396 | 1.2271
unknown norm2_1 | [6 empty] | 0.45276 | 1.4748
unknown norm2_1 | [6 empty] | 0.45278 | 1.5573
unknown norm2_1 | [6 empty] | 0.53158 | 1.7431
unknown norm2_1 | [6 empty] | 0.53005 | 1.867
unknown norm2_1 | [6 empty] | 0.60885 | 2.0734
unknown norm2_1 | [6 empty] | 0.60889 | 2.2798
unknown norm2_1 | [6 empty] | 0.6846 | 2.4862
unknown norm2_1 | [6 empty] | 0.68153 | 2.6307
unknown norm2_1 | [6 empty] | 0.76035 | 2.8991
unknown norm2_1 | [6 empty] | 0.76191 | 3.0436
unknown norm2_1 | [6 empty] | 0.83456 | 3.3739
unknown norm2_1 | [6 empty] | 0.84079 | 3.7041
unknown norm2_1 | [6 empty] | 0.91652 | 3.9931
unknown norm2_1 | [6 empty] | 0.91658 | 4.3647
unknown norm2_1 | [6 empty] | 0.9954 | 4.695
unknown norm2_1 | [6 empty] | 0.99246 | 5.5413
unknown norm2_1 | [6 empty] | 1.0682 | 5.8509
unknown norm2_1 | [6 empty] | 1.07 | 7.2339
unknown norm2_1 | [6 empty] | 1.1457 | 7.5849
unknown norm2_1 | [6 empty] | 1.1477 | 9.9794
unknown norm2_1 | [6 empty] | 0 | 0
unknown norm2_2 | [6 empty] | 0.088034 | 0.0091743
unknown norm2_2 | [6 empty] | 0.088042 | 0.050459
unknown norm2_2 | [6 empty] | 0.13129 | 0.071101
unknown norm2_2 | [6 empty] | 0.13285 | 0.15367
unknown norm2_2 | [6 empty] | 0.18072 | 0.15367
unknown norm2_2 | [6 empty] | 0.18382 | 0.2156
unknown norm2_2 | [6 empty] | 0.22861 | 0.23624
unknown norm2_2 | [6 empty] | 0.23635 | 0.33945
unknown norm2_2 | [6 empty] | 0.32595 | 0.44266
unknown norm2_2 | [6 empty] | 0.40627 | 0.52523
unknown norm2_2 | [6 empty] | 0.42019 | 0.64908
unknown norm2_2 | [6 empty] | 0.47117 | 0.71101
unknown norm2_2 | [6 empty] | 0.47118 | 0.77294
unknown norm2_2 | [6 empty] | 0.51443 | 0.83486
unknown norm2_2 | [6 empty] | 0.51909 | 0.97936
unknown norm2_2 | [6 empty] | 0.56697 | 1
unknown norm2_2 | [6 empty] | 0.56852 | 1.0206
unknown norm2_2 | [6 empty] | 0.61333 | 1.1651
unknown norm2_2 | [6 empty] | 0.61334 | 1.2271
unknown norm2_2 | [6 empty] | 0.65659 | 1.289
unknown norm2_2 | [6 empty] | 0.66279 | 1.4128
unknown norm2_2 | [6 empty] | 0.7076 | 1.5161
unknown norm2_2 | [6 empty] | 0.70915 | 1.578
unknown norm2_2 | [6 empty] | 0.75705 | 1.6812
unknown norm2_2 | [6 empty] | 0.75708 | 1.8876
unknown norm2_2 | [6 empty] | 0.80497 | 1.9702
unknown norm2_2 | [6 empty] | 0.805 | 2.1147
unknown norm2_2 | [6 empty] | 0.85134 | 2.1766
unknown norm2_2 | [6 empty] | 0.85293 | 2.4656
unknown norm2_2 | [6 empty] | 0.90084 | 2.6101
unknown norm2_2 | [6 empty] | 0.90402 | 3.1881
unknown norm2_2 | [6 empty] | 0.94883 | 3.2913
unknown norm2_2 | [6 empty] | 0.95064 | 4.8601
unknown norm2_2 | [6 empty] | 0.99853 | 4.922
unknown norm2_2 | [6 empty] | 1.0009 | 9.9794
unknown norm2_2 | [6 empty] | 0.015448 | 0.0091743
unknown norm2_3 | [6 empty] | 0.061804 | 0.15367
unknown norm2_3 | [6 empty] | 0.1483 | 0.2156
unknown norm2_3 | [6 empty] | 0.23016 | 0.23624
unknown norm2_3 | [6 empty] | 0.2379 | 0.36009
unknown norm2_3 | [6 empty] | 0.33676 | 0.44266
unknown norm2_3 | [6 empty] | 0.37848 | 0.56651
unknown norm2_3 | [6 empty] | 0.48969 | 0.64908
unknown norm2_3 | [6 empty] | 0.49125 | 0.77294
unknown norm2_3 | [6 empty] | 0.57621 | 0.87615
unknown norm2_3 | [6 empty] | 0.58086 | 0.93807
unknown norm2_3 | [6 empty] | 0.66273 | 1.0413
unknown norm2_3 | [6 empty] | 0.6612 | 1.1239
unknown norm2_3 | [6 empty] | 0.74926 | 1.3096
unknown norm2_3 | [6 empty] | 0.7493 | 1.5367
unknown norm2_3 | [6 empty] | 0.83117 | 1.6399
unknown norm2_3 | [6 empty] | 0.82968 | 1.9702
unknown norm2_3 | [6 empty] | 0.91002 | 2.1353
unknown norm2_3 | [6 empty] | 0.91333 | 3.3945
unknown norm2_3 | [6 empty] | 0.99985 | 3.6216
unknown norm2_3 | [6 empty] | 0.99228 | 4.5092
unknown norm2_3 | [6 empty] | 0.99939 | 9.9381
unknown norm2_3 | [6 empty] | 0.01854 | 0.029817
unknown norm2_4 | [6 empty] | 0.14522 | 0.25688
unknown norm2_4 | [6 empty] | 0.16066 | 0.25688
unknown norm2_4 | [6 empty] | 0.18383 | 0.23624
unknown norm2_4 | [6 empty] | 0.22092 | 0.42202
unknown norm2_4 | [6 empty] | 0.30589 | 0.58716
unknown norm2_4 | [6 empty] | 0.33682 | 0.79358
unknown norm2_4 | [6 empty] | 0.46043 | 1.1445
unknown norm2_4 | [6 empty] | 0.49135 | 1.3509
unknown norm2_4 | [6 empty] | 0.49756 | 1.5367
unknown norm2_4 | [6 empty] | 0.66135 | 2.0321
unknown norm2_4 | [6 empty] | 0.66291 | 2.1147
unknown norm2_4 | [6 empty] | 0.71699 | 2.2592
unknown norm2_4 | [6 empty] | 0.78498 | 2.4656
unknown norm2_4 | [6 empty] | 0.78654 | 2.5482
unknown norm2_4 | [6 empty] | 0.88235 | 2.8578
unknown norm2_4 | [6 empty] | 0.88543 | 2.8372
unknown norm2_4 | [6 empty] | 0.9148 | 2.961
unknown norm2_4 | [6 empty] | 0.91635 | 3.0023
unknown norm2_4 | [6 empty] | 0.93798 | 3.0849
unknown norm2_4 | [6 empty] | 0.94108 | 3.1055
unknown norm2_4 | [6 empty] | 0.9828 | 3.2706
unknown norm2_4 | [6 empty] | 0.98591 | 3.3739
unknown norm2_4 | [6 empty] | 1.0153 | 3.4564
unknown norm2_4 | [6 empty] | 1.0339 | 3.8693
unknown norm2_4 | [6 empty] | 1.0648 | 4.0963
unknown norm2_4 | [6 empty] | 1.0865 | 4.4679
unknown norm2_4 | [6 empty] | 1.1113 | 4.9427
unknown norm2_4 | [6 empty] | 1.1314 | 5.211
unknown norm2_4 | [6 empty] | 1.1345 | 5.2936
unknown norm2_4 | [6 empty] | 1.1314 | 5.4174
unknown norm2_4 | [6 empty] | 1.1268 | 5.6239
unknown norm2_4 | [6 empty] | 1.1269 | 5.7683
unknown norm2_4 | [6 empty] | 1.164 | 5.9541
unknown norm2_4 | [6 empty] | 1.1918 | 6.3257
unknown norm2_4 | [6 empty] | 1.2027 | 6.6766
unknown norm2_4 | [6 empty] | 1.1955 | 10
unknown norm2_4 | [6 empty] | 0.021629 | 0.029817
unknown norm2_5 | [6 empty] | 0.1097 | 0.27752
unknown norm2_5 | [6 empty] | 0.24875 | 0.6078
unknown norm2_5 | [6 empty] | 0.24876 | 0.64908
unknown norm2_5 | [6 empty] | 0.36618 | 0.89679
unknown norm2_5 | [6 empty] | 0.36774 | 1
unknown norm2_5 | [6 empty] | 0.49906 | 1.289
unknown norm2_5 | [6 empty] | 0.49598 | 1.3303
unknown norm2_5 | [6 empty] | 0.62422 | 1.6399
unknown norm2_5 | [6 empty] | 0.6227 | 1.7844
unknown norm2_5 | [6 empty] | 0.75558 | 2.1353
unknown norm2_5 | [6 empty] | 0.75414 | 2.7546
unknown norm2_5 | [6 empty] | 0.87467 | 3.1261
unknown norm2_5 | [6 empty] | 0.8747 | 3.2913
unknown norm2_5 | [6 empty] | 1.0045 | 3.7454
unknown norm2_5 | [6 empty] | 1.0015 | 4.4679
unknown norm2_5 | [6 empty] | 1.1206 | 5.5
unknown norm2_5 | [6 empty] | 1.1194 | 7.172
unknown norm2_5 | [6 empty] | 1.1029 | 9.9587

## CTST
TEST_ID | Pile ID | Type of test/Size | Test age | Strength | Remarks
CTST_ID | PILE_ID | CTST_TYPE | CTST_AGE | CTST_STRN | CTST_REM
ID | ID | mm | Days | kPa

## CYCL
PILE ID | Test ID | Cycle No. | Qmin | Qmax | Duration of respective cycling between Qmin and Qmax Time (mins) | Cumulative number of cycle repetitions (n) | Total Settlement over duration of repetitive cycling (mm) | Description
PILE_ID | PTST_ID | CYCL_CYC | CYCL_LOA1 | CYCL_SET1 | CYCL_TIME | CYCL_REP | CYCL_SET1 | PSLT_DESC
ID | ID |  | kN | mm | Minutes |  | mm