## PROJ
ID | R08
Name | Rock socket piles at Coventry Point, Market Way, Coventry
Location | Coventry Point, Market Way, Coventry
Year | 1975
Remarks | Work carried out between 1973 and 1975
Reference Level | 96
Level Source | NGRF
Groundwater depth | 4
Reference | Cole KW and Stroud MA (1976) Rock socket piles at Coventry Point, Market Way, Coventry. Geotechnique 26(1):47-62.

## LOCA
Hole ID | Easting (X) | Northing (Y) | Ground Level (Z) | Final depth | Co-ordinate Source | Location Remarks
LOCA_ID | LOCA_NATE | LOCA_NATN | LOCA_GL | LOCA_FDEP | LOCA_SOU | LOCA_REM
ID | m | m | m | m
SITE | 433197 | 278927 | 0
B1
B2
B3
B4
B5
P01 | [5 empty] | Based on B5

## GEOL
Hole ID | Top Depth | Base Depth | Legend code | Geology code | General description of stratum
LOCA_ID | GEOL_TOP | GEOL_BASE | GEOL_LEG | GEOL_GEOL | GEOL_DESC
ID | m | m
B3 | 0 | 3 | 102 | MGR | Fill and firm silty sandy clay
B3 | 3.3 | 5.7 | 803 | EN | Sandstone
B3 | 5.7 | 6.7 | 801 | EN | Mudstone and siltstone
B3 | 6.7 | 7 | 803 | EN | Sandstone
B3 | 7 | 7.2 | 801 | EN | Mudstone and siltstone
B3 | 7.2 | 8 | 803 | EN | Sandstone
B3 | 8 | 8.2 | 801 | EN | Mudstone and siltstone
B3 | 8.2 | 8.7 | 803 | EN | Sandstone
B3 | 8.7 | 9 | 801 | EN | Mudstone and siltstone
B3 | 9 | 9.6 | 803 | EN | Sandstone
B3 | 9.6 | 9.9 | 801 | EN | Mudstone and siltstone
B3 | 9.9 | 13.4 | 803 | EN | Sandstone
B3 | 13.4 | 13.7 | 801 | EN | Mudstone and siltstone
B3 | 13.7 | 14.2 | 803 | EN | Sandstone
B3 | 14.2 | 14.4 | 801 | EN | Mudstone and siltstone
B3 | 14.4 | 15.5 | 803 | EN | Sandstone
B3 | 15.5 | 15.9 | 801 | EN | Mudstone and siltstone
B3 | 15.9 | 16.5 | 803 | EN | Sandstone
B3 | 16.5 | 16.6 | 801 | EN | Mudstone and siltstone
B3 | 16.6 | 17.5 | 803 | EN | Sandstone
B3 | 17.5 | 17.7 | 801 | EN | Mudstone and siltstone
B3 | 17.7 | 25.5 | 803 | EN | Sandstone
B3 | 25.5 | 26 | 801 | EN | Mudstone and siltstone
B3 | 26 | 29 | 803 | EN | Sandstone
B3 | 29 | 30 | 801 | EN | Mudstone and siltstone
B4 | 0 | 5.2 | 203 | MGR | Fill and firm silty sandy clay
B4 | 5.2 | 5.6 | 803 | EN | Sandstone
B4 | 5.6 | 6.1 | 801 | EN | Mudstone and siltstone
B4 | 6.1 | 6.6 | 803 | EN | Sandstone
B4 | 6.6 | 7 | 801 | EN | Mudstone and siltstone
B4 | 7 | 8.3 | 803 | EN | Sandstone
B4 | 8.3 | 8.8 | 801 | EN | Mudstone and siltstone
B4 | 8.8 | 10.5 | 803 | EN | Sandstone
B4 | 10.5 | 10.8 | 801 | EN | Mudstone and siltstone
B4 | 10.8 | 14.6 | 803 | EN | Sandstone
B4 | 14.6 | 15.1 | 801 | EN | Mudstone and siltstone
B4 | 15.1 | 16.8 | 803 | EN | Sandstone
B4 | 16.8 | 16.9 | 801 | EN | Mudstone and siltstone
B4 | 16.9 | 17.2 | 803 | EN | Sandstone
B4 | 17.2 | 17.7 | 801 | EN | Mudstone and siltstone
B4 | 17.7 | 18.7 | 803 | EN | Sandstone
B4 | 18.7 | 19.4 | 801 | EN | Mudstone and siltstone
B4 | 19.4 | 19.7 | 803 | EN | Sandstone
B4 | 19.7 | 19.8 | 801 | EN | Mudstone and siltstone
B4 | 19.8 | 20.2 | 803 | EN | Sandstone
B4 | 20.2 | 22.8 | 801 | EN | Mudstone and siltstone
B4 | 22.8 | 23.2 | 803 | EN | Sandstone
B4 | 23.2 | 23.8 | 801 | EN | Mudstone and siltstone
B4 | 23.8 | 26 | 803 | EN | Sandstone
B4 | 26 | 26.5 | 801 | EN | Mudstone and siltstone
B5 | 0 | 4 | 102 | MGR | Fill and firm silty sandy clay
B5 | 4 | 5.2 | 803 | EN | Sandstone
B5 | 5.2 | 5.8 | 801 | EN | Mudstone and siltstone
B5 | 5.8 | 6.3 | 803 | EN | Sandstone
B5 | 6.3 | 6.6 | 801 | EN | Mudstone and siltstone
B5 | 6.6 | 8.3 | 803 | EN | Sandstone
B5 | 8.3 | 8.6 | 801 | EN | Mudstone and siltstone
B5 | 8.6 | 9.7 | 803 | EN | Sandstone
B5 | 9.7 | 10 | 801 | EN | Mudstone and siltstone
B5 | 10 | 11.4 | 803 | EN | Sandstone
B5 | 11.4 | 11.7 | 801 | EN | Mudstone and siltstone
B5 | 11.7 | 12.9 | 803 | EN | Sandstone
B5 | 12.9 | 13.2 | 801 | EN | Mudstone and siltstone
B5 | 13.2 | 15.6 | 803 | EN | Sandstone
B5 | 15.6 | 16 | 801 | EN | Mudstone and siltstone
B5 | 16 | 16.9 | 803 | EN | Sandstone
B5 | 16.9 | 24.5 | 801 | EN | Mudstone and siltstone
B5 | 24.5 | 24.8 | 803 | EN | Sandstone
B5 | 24.8 | 25 | 801 | EN | Mudstone and siltstone
B5 | 25 | 26.5 | 803 | EN | Sandstone
P01 | 0 | 4 | 102 | MGR | Fill and firm silty sandy clay
P01 | 4 | 5.2 | 803 | EN | Sandstone
P01 | 5.2 | 5.8 | 801 | EN | Mudstone and siltstone
P01 | 5.8 | 6.3 | 803 | EN | Sandstone
P01 | 6.3 | 6.6 | 801 | EN | Mudstone and siltstone
P01 | 6.6 | 8.3 | 803 | EN | Sandstone
P01 | 8.3 | 8.6 | 801 | EN | Mudstone and siltstone
P01 | 8.6 | 9.7 | 803 | EN | Sandstone

## LLPL
Hole ID | Top Depth | Moisture Content | Liquid Limit | Plastic Limit | Plasticity Index | Percentage passing | Specimen Description
LOCA_ID | SAMP_TOP | LLPL_MC | LLPL_LL | LLPL_PL | LLPL_PI | LLPL_425 | SPEC_DESC
ID | m | % | % | % | % | %

## ISPT
Hole ID | Test Depth | Corrected | N Value
LOCA_ID | ISPT_TOP | ISPT_CORR | ISPT_SPTN
m
B1 | 0.62575 |  | 6.6808
B1 | 1.9735 |  | 10.8137
B1 | 2.5993 |  | 12.8968
B1 | 2.9844 |  | 28.856
B1 | 4.3321 |  | 81.2648
B1 | 5.0542 |  | 71.8204
B1 | 5.4874 |  | 126.8434
B1 | 7.3165 |  | 117.0173
B1 | 9.1937 |  | 155.4504
B2 | 1.9735 |  | 14.262
B2 | 3.6101 |  | 33.2379
B2 | 4.0433 |  | 8.9506
B2 | 5.0301 |  | 98.2655
B2 | 5.8724 |  | 173.8371
B2 | 6.5463 |  | 140.2714
B2 | 7.5812 |  | 220.3743
B2 | 8.3755 |  | 110.905
B2 | 8.8568 |  | 293.4977
B2 | 9.6751 |  | 231.1465
B2 | 9.988 |  | 332.1881
B3 | 1.0108 |  | 24.9388
B3 | 5.728 |  | 62.3926
B3 | 6.8833 |  | 193.0288
B3 | 7.4609 |  | 169.8411
B3 | 8.1348 |  | 165.011
B3 | 8.8568 |  | 201.5436
B3 | 9.1456 |  | 238.2257
B3 | 10.2046 |  | 228.6651
B3 | 10.6859 |  | 196.3152
B5 | 7.1045 |  | 182.0823
B5 | 8.3717 |  | 75.5448
B5 | 9.6774 |  | 232.4455
B5 | 10.7527 |  | 232.4455
B5 | 12.596 |  | 505.569
B5 | 14.2857 |  | 763.1961
B5 | 15.6682 |  | 160.7748
B5 | 17.7803 |  | 85.23
B5 | 19.1628 |  | 131.7191
B5 | 20.0845 |  | 184.0194
B5 | 20.9293 |  | 257.6271
B5 | 23.2335 |  | 259.5642
B5 | 24.616 |  | 311.8644
B5 | 25.9217 |  | 240.1937

## TRIG
BH ID | Top Depth | Sample Ref | Test Type | Sample Condition | Specimen Diameter | Undrained shear strength at failure | Remarks
LOCA_ID | SAMP_TOP | SAMP_REF | TRIG_TYPE | TRIG_COND | TRIT_SDIA | TRIT_CU | TRIG_REM
ID | m |  |  |  | mm | kPa

## CULN
BH ID | Trend Description | z0 definition | Gradient | Intercept
LOCA_ID | CULN_NAME | CULN_ZDEF | CULN_EQU1 | CULN_EQU2
ID |  | m | kPa/m | kPa

## CONS
BH ID | Top Depth | Sample Ref | Sample Condition | Coefficient of volume compressibility | Coefficient of consolidation
LOCA_ID | SAMP_TOP | SAMP_REF | CONS_COND | CONS_INMV | CONS_CVRT
ID | m |  |  | m²/MN | m²/yr

## WSTG
Hole ID | Depth to water strike | Remarks
LOCA_ID | WSTG_DPTH | WSTG_REM
ID | m

## PIEZ
BH ID | Top Depth | Sample Ref | Piezometric Head
LOCA_ID | SAMP_TOP | SAMP_REF | PIEZ_HEAD
ID | m |  | m

## PILE
Pile ID | Pile Material | Pile Type/Installation Method | Total Time to Install | Ground Level (Z) | Pile Length | Upstand | Cut-off-level (C.O.L) | Pile Base Level | Casing Base Depth | Casing Type | Pile Shaft Circumference | Pile Shaft Area | Pile Base Area | Pile Shape | Pile Key Dimension | Pile Base Dimension | Pile Undeream Height | Pile Wall Thickness | Working or test pile | Rake (1:n from vertical) | Design Working Load | Design Verification Load (DVL) | Concrete mix designation | Concrete strength class | Concrete design class | Supprt fluid type | Pile Cap Details | Pile Remarks
PILE_ID | PILE_CON | PILE_INST | PILE_TIM | PILE_GL | PILE_LEN | PILE_UPS | PILE_CUT | PILE_BASE | PILE_SLVD | PILE_CAS | PILE_CIRC | PILE_ASH | PILE_ABS | PILE_SHAP | PILE_DIM | PILE_BDIM | PILE_UNDH | PILE_THCK | PILE_PURP | PILE_RAKE | PILE_DSWL | PILE_DVL | PILE_CDES | PILE_CSTR | PILE_CDC | PILE_FYTP | PILE_CAP | PILE_REM
ID |  |  | Days | m | m | m | m | m | m |  | m | m² | m² |  | m | m | m | m |  |  | kN | kN
P01 | Concrete | Bored |  | 0 | 8.7 |  |  | -8.7 |  |  | 3.3301 | 0.88247 | 0.88247 | Circular | 1.06 | 1.06 |  |  | P |  | 4500 | [6 empty] | rock socket pile

## BORE
Pile ID | Time start of Prebore | Time Shaft Bored | Time Base Bored | Time Concreted | Diameter of Bore/outside casing | Bored Pile Remarks | Base or Shaft Grouting Details
PILE_ID | BORE_PRE | BORE_SHAF | BORE_BASE | BORE_CONC | BORE_DIA | BORE_REM | BORE_GRO
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm

## DRIV
Pile ID | Time to Pre Bore | Time to End of driving/Driving time | Rate of Driving During Installation | Time of cast in place | No. of Blows | Penetration Increment | Driving Shoe Details/Diameter | Base or Shaft Grouting Details | Driven Piles Remarks
PILE_ID | DRIV_PRE | DRIV_TIM | DRIV_INST | DRIV_CAST | DRIV_BLOW | DRIV_PEN | DRIV_SHOE | DRIV_GRO | DRIV_REM
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm/min | m |  | mm

## PTST
Pile ID | Test ID | Test loading type | Time from Install (No. of days) | Test rate | Pile Test Remarks
PILE_ID | PTST_ID | PTST_TYPE | PTST_TIM | PTST_RATE | PTST_REM
ID | ID |  | Days | mm/hr
P01 | 1 | ML |  |  | cyclic loading (design load, 1 1/4 design load and 1 1/2 design load)

## PSLT
PILE ID | Test ID | Load on Load cell 1 | Settlement at Load cell 1 | Time (seconds) | Load cell 2 Depth/Pile Length | Load on Load cell 2 | Settlement at Load cell 2 | Load cell 3 Depth/Pile Length | Load on Load cell 3 | Settlement at Load cell 3 | Load cell 4 Depth/Pile Length | Load on Load cell 4 | Settlement at Load cell 4 | Description
PILE_ID | PTST_ID | PSLT_LOA1 | PSLT_SET1 | PSTL_TIME | PSLT_LOC2 | PSLT_LOA2 | PSLT_SET2 | PSLT_LOC3 | PSLT_LOA3 | PSLT_SET3 | PSLT_LOC4 | PSLT_LOA4 | PSLT_SET4 | PSLT_DESC
ID | ID | kN | mm | Seconds |  | kN | mm |  | kN | mm |  | kN | mm
P01 | 1 | 0 | 0 | [10 empty] | design load (4500 KN)
P01 | 1 | 12.4629 | 0 | [10 empty] | design load (4500 KN)
P01 | 1 | 1100.8902 | 2.5728 | [10 empty] | design load (4500 KN)
P01 | 1 | 2226.7062 | 5.6715 | [10 empty] | design load (4500 KN)
P01 | 1 | 3331.7507 | 8.3496 | [10 empty] | design load (4500 KN)
P01 | 1 | 4500 | 13.0321 | [10 empty] | design load (4500 KN)
P01 | 1 | 2650 | 11.5 | [10 empty] | design load (4500 KN)
P01 | 1 | 1645.1039 | 10.0086 | [10 empty] | design load (4500 KN)
P01 | 1 | 805.9347 | 8.5583 | [10 empty] | design load (4500 KN)
P01 | 1 | 220.178 | 6.6418 | [10 empty] | design load (4500 KN)
P01 | 1 | 0 | 5.6177 | [10 empty] | design load (4500 KN)
P01 | 1 | 0 | 5.6177 | [10 empty] | 1 1/4 design load
P01 | 1 | 220.178 | 6.6418 | [10 empty] | 1 1/4 design load
P01 | 1 | 805.9347 | 8.5583 | [10 empty] | 1 1/4 design load
P01 | 1 | 1645.1039 | 10.0086 | [10 empty] | 1 1/4 design load
P01 | 1 | 2650 | 11.5 | [10 empty] | 1 1/4 design load
P01 | 1 | 4500 | 13.0321 | [10 empty] | 1 1/4 design load
P01 | 1 | 5625 | 18.041 | [10 empty] | 1 1/4 design load
P01 | 1 | 3946.5875 | 15.9857 | [10 empty] | 1 1/4 design load
P01 | 1 | 2434.4214 | 14.1174 | [10 empty] | 1 1/4 design load
P01 | 1 | 1744.8071 | 13.3843 | [10 empty] | 1 1/4 design load
P01 | 1 | 706.2315 | 11.0131 | [10 empty] | 1 1/4 design load
P01 | 1 | 0 | 9.2226 | [10 empty] | 1 1/4 design load
P01 | 1 | 0 | 9.2226 | [10 empty] | 1 1/2 design load
P01 | 1 | 706.2315 | 11.0131 | [10 empty] | 1 1/2 design load
P01 | 1 | 1744.8071 | 13.3843 | [10 empty] | 1 1/2 design load
P01 | 1 | 2434.4214 | 14.1174 | [10 empty] | 1 1/2 design load
P01 | 1 | 3946.5875 | 15.9857 | [10 empty] | 1 1/2 design load
P01 | 1 | 5625 | 18.041 | [10 empty] | 1 1/2 design load
P01 | 1 | 6750 | 22.5199 | [10 empty] | 1 1/2 design load
P01 | 1 | 6123.4421 | 22.2 | [10 empty] | 1 1/2 design load
P01 | 1 | 4494.9555 | 20.9827 | [10 empty] | 1 1/2 design load
P01 | 1 | 3689.0208 | 20.3 | [10 empty] | 1 1/2 design load
P01 | 1 | 2575.6677 | 18.7582 | [10 empty] | 1 1/2 design load
P01 | 1 | 1105.0445 | 15.611 | [10 empty] | 1 1/2 design load
P01 | 1 | 382.1958 | 13.8233 | [10 empty] | 1 1/2 design load
P01 | 1 | 0 | 11.9788

## CTST
TEST_ID | Pile ID | Type of test/Size | Test age | Strength | Remarks
CTST_ID | PILE_ID | CTST_TYPE | CTST_AGE | CTST_STRN | CTST_REM
ID | ID | mm | Days | kPa

## CYCL
PILE ID | Test ID | Cycle No. | Qmin | Qmax | Duration of respective cycling between Qmin and Qmax Time (mins) | Cumulative number of cycle repetitions (n) | Total Settlement over duration of repetitive cycling (mm) | Description
PILE_ID | PTST_ID | CYCL_CYC | CYCL_LOA1 | CYCL_SET1 | CYCL_TIME | CYCL_REP | CYCL_SET1 | PSLT_DESC
ID | ID |  | kN | mm | Minutes |  | mm