## PROJ
ID | R37_10
Name | Case A10: Wood Green Shopping Centre
Location | Woodgreen Shopping Centre, Wood Green, London
Year | 1972
Remarks
Reference Level | 20.6
Level Source | P2
Groundwater depth | 1.5
Reference | Patel DC (1989) A Case Study of the Shaft Friction of Bored Piles in London Clay in Terms of Total and Effective Stresses. MSc Dissertation, Imperial College London, UK

## LOCA
Hole ID | Easting (X) | Northing (Y) | Ground Level (Z) | Final depth | Co-ordinate Source | Location Remarks
LOCA_ID | LOCA_NATE | LOCA_NATN | LOCA_GL | LOCA_FDEP | LOCA_SOU | LOCA_REM
ID | m | m | m | m
SITE | 531100 | 190100 | 0
BH1 |  |  | 0
BH2 |  |  | 0
BH3 |  |  | 0
BH4 |  |  | 0
BH5 |  |  | 0

## GEOL
Hole ID | Top Depth | Base Depth | Legend code | Geology code | General description of stratum
LOCA_ID | GEOL_TOP | GEOL_BASE | GEOL_LEG | GEOL_GEOL | GEOL_DESC
ID | m | m
SITE | 0 | 1.5 | 102 | MGR | Fill
SITE | 1.5 | 5 | 201 | LC | Brown London Clay
SITE | 5 | 23 | 201 | LC | Blue London Clay
SITE | 23 | 30 | 201 | LMBE | Woolwich and Reading Beds

## LLPL
Hole ID | Top Depth | Moisture Content | Liquid Limit | Plastic Limit | Plasticity Index | Percentage passing | Specimen Description
LOCA_ID | SAMP_TOP | LLPL_MC | LLPL_LL | LLPL_PL | LLPL_PI | LLPL_425 | SPEC_DESC
ID | m | % | % | % | % | %
SITE | 15 | 23 |  |  | 40 |  | Site minimum
SITE | 15 | 30 |  |  | 65 |  | Site maximum

## ISPT
Hole ID | Test Depth | Corrected | N Value
LOCA_ID | ISPT_TOP | ISPT_CORR | ISPT_SPTN
m

## TRIG
BH ID | Top Depth | Sample Ref | Test Type | Sample Condition | Specimen Diameter | Undrained shear strength at failure | Remarks
LOCA_ID | SAMP_TOP | SAMP_REF | TRIG_TYPE | TRIG_COND | TRIT_SDIA | TRIT_CU | TRIG_REM
ID | m |  |  |  | mm | kPa
BH1 | 8.9176 |  | TRIG |  | 100 | 149.3658
BH1 | 13.9004 |  | TRIG |  | 100 | 183.6355
BH1 | 19.8934 |  | TRIG |  | 100 | 161.7216
BH1 | 27.4514 |  | TRIG |  | 100 | 233.7547
BH2 | 3.9372 |  | TRIG |  | 100 | 123.692
BH2 | 5.57 |  | TRIG |  | 100 | 140.8465
BH2 | 11.1849 |  | TRIG |  | 100 | 122.3797
BH3 | 11.7225 |  | TRIG |  | 100 | 130.9634
BH3 | 14.5899 |  | TRIG |  | 100 | 256.9722
BH3 | 18.9274 |  | TRIG |  | 100 | 296.4143
BH3 | 22.9353 |  | TRIG |  | 100 | 353.629
BH3 | 24.7646 |  | TRIG |  | 100 | 435.5355
BH4 | 3.8162 |  | TRIG |  | 100 | 89.3108
BH4 | 23.3977 |  | TRIG |  | 100 | 412.0711
BH5 | 2.6904 |  | TRIG |  | 100 | 50.9412
BH5 | 4.3748 |  | TRIG |  | 100 | 93.3095
BH5 | 12.5638 |  | TRIG |  | 100 | 188.8238
BH5 | 15.8554 |  | TRIG |  | 100 | 236.3128
BH5 | 25.9556 |  | TRIG |  | 100 | 228.0583
BH5 | 29.0565 |  | TRIG |  | 100 | 231.4256

## CULN
BH ID | Trend Description | z0 definition | Gradient | Intercept
LOCA_ID | CULN_NAME | CULN_ZDEF | CULN_EQU1 | CULN_EQU2
ID |  | m | kPa/m | kPa
SITE | Design line used by Patel | 1.5 | 11.15 | 53

## CONS
BH ID | Top Depth | Sample Ref | Sample Condition | Coefficient of volume compressibility | Coefficient of consolidation
LOCA_ID | SAMP_TOP | SAMP_REF | CONS_COND | CONS_INMV | CONS_CVRT
ID | m |  |  | m²/MN | m²/yr

## WSTG
Hole ID | Depth to water strike | Remarks
LOCA_ID | WSTG_DPTH | WSTG_REM
ID | m

## PIEZ
BH ID | Top Depth | Sample Ref | Piezometric Head
LOCA_ID | SAMP_TOP | SAMP_REF | PIEZ_HEAD
ID | m |  | m
SITE | 1.5 |  | 0
SITE | 5.4122 |  | 1.289
SITE | 4.9425 |  | 2.3474
SITE | 3.9234 |  | 2.848
SITE | 6.4736 |  | 4.3012
SITE | 14.7242 |  | 8.4103
SITE | 18.6156 |  | 13.5743
SITE | 25.1509 |  | 10.4608

## PILE
Pile ID | Pile Material | Pile Type/Installation Method | Total Time to Install | Ground Level (Z) | Pile Length | Upstand | Cut-off-level (C.O.L) | Pile Base Level | Casing Base Depth | Casing Type | Pile Shaft Circumference | Pile Shaft Area | Pile Base Area | Pile Shape | Pile Key Dimension | Pile Base Dimension | Pile Undeream Height | Pile Wall Thickness | Working or test pile | Rake (1:n from vertical) | Design Working Load | Design Verification Load (DVL) | Concrete mix designation | Concrete strength class | Concrete design class | Supprt fluid type | Pile Cap Details | Pile Remarks
PILE_ID | PILE_CON | PILE_INST | PILE_TIM | PILE_GL | PILE_LEN | PILE_UPS | PILE_CUT | PILE_BASE | PILE_SLVD | PILE_CAS | PILE_CIRC | PILE_ASH | PILE_ABS | PILE_SHAP | PILE_DIM | PILE_BDIM | PILE_UNDH | PILE_THCK | PILE_PURP | PILE_RAKE | PILE_DSWL | PILE_DVL | PILE_CDES | PILE_CSTR | PILE_CDC | PILE_FYTP | PILE_CAP | PILE_REM
ID |  |  | Days | m | m | m | m | m | m |  | m | m² | m² |  | m | m | m | m |  |  | kN | kN
P1 | Concrete | Bored |  | 0 | 24.2 |  |  |  | 0 |  | 1.9164 | 0.29225 | 0.29225 | Circular | 0.61 | 0.61 |  |  |  |  | 1600
P2 | Concrete | Bored |  | 0 | 21.83 |  |  |  | 0 |  | 1.9164 | 0.29225 | 0.29225 | Circular | 0.61 | 0.61 |  |  |  |  | 1200
P4 | Concrete | Bored |  | 0 | 18.34 |  |  |  | 0 |  | 1.9164 | 0.29225 | 0.29225 | Circular | 0.61 | 0.61 |  |  |  |  | 800
P5 | Concrete | Bored |  | 0 | 22.8 |  |  |  | 0 |  | 1.9164 | 0.29225 | 0.29225 | Circular | 0.61 | 0.61 |  |  |  |  | 1600
P6 | Concrete | Bored |  | 0 | 21.2 |  |  |  | 0 |  | 1.9164 | 0.29225 | 0.29225 | Circular | 0.61 | 0.61 |  |  |  |  | 1800

## BORE
Pile ID | Time start of Prebore | Time Shaft Bored | Time Base Bored | Time Concreted | Diameter of Bore/outside casing | Bored Pile Remarks | Base or Shaft Grouting Details
PILE_ID | BORE_PRE | BORE_SHAF | BORE_BASE | BORE_CONC | BORE_DIA | BORE_REM | BORE_GRO
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm

## DRIV
Pile ID | Time to Pre Bore | Time to End of driving/Driving time | Rate of Driving During Installation | Time of cast in place | No. of Blows | Penetration Increment | Driving Shoe Details/Diameter | Base or Shaft Grouting Details | Driven Piles Remarks
PILE_ID | DRIV_PRE | DRIV_TIM | DRIV_INST | DRIV_CAST | DRIV_BLOW | DRIV_PEN | DRIV_SHOE | DRIV_GRO | DRIV_REM
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm/min | m |  | mm

## PTST
Pile ID | Test ID | Test loading type | Time from Install (No. of days) | Test rate | Pile Test Remarks
PILE_ID | PTST_ID | PTST_TYPE | PTST_TIM | PTST_RATE | PTST_REM
ID | ID |  | Days | mm/hr
P1 | 1 | ML
P1 | 2 | CRP
P2 | 1 | ML
P2 | 2 | CRP
P4 | 1 | ML
P4 | 2 | CRP
P5 | 1 | ML
P5 | 2 | CRP
P6 | 1 | ML
P6 | 2 | CRP

## PSLT
PILE ID | Test ID | Load on Load cell 1 | Settlement at Load cell 1 | Time (seconds) | Load cell 2 Depth/Pile Length | Load on Load cell 2 | Settlement at Load cell 2 | Load cell 3 Depth/Pile Length | Load on Load cell 3 | Settlement at Load cell 3 | Load cell 4 Depth/Pile Length | Load on Load cell 4 | Settlement at Load cell 4 | Description
PILE_ID | PTST_ID | PSLT_LOA1 | PSLT_SET1 | PSTL_TIME | PSLT_LOC2 | PSLT_LOA2 | PSLT_SET2 | PSLT_LOC3 | PSLT_LOA3 | PSLT_SET3 | PSLT_LOC4 | PSLT_LOA4 | PSLT_SET4 | PSLT_DESC
ID | ID | kN | mm | Seconds |  | kN | mm |  | kN | mm |  | kN | mm
P1 | 1 | 0 | 0
P1 | 1 | 400 | 0.3
P1 | 1 | 800 | 0.84
P1 | 1 | 1200 | 1.42
P1 | 1 | 1600 | 2.03
P1 | 1 | 1600 | 2.16
P1 | 1 | 0 | 0.43
P1 | 1 | 1600 | 2.39
P1 | 1 | 1600 | 2.52
P1 | 1 | 2000 | 3.07
P1 | 1 | 2000 | 3.33
P1 | 1 | 1320 | 2.64
P1 | 1 | 660 | 1.85
P1 | 1 | 0 | 0.99
P1 | 1 | 2000 | 3.33
P1 | 1 | 2000 | 3.5
P1 | 1 | 2400 | 3.96
P1 | 1 | 2400 | 4.19
P1 | 1 | 1600 | 3.4
P1 | 1 | 800 | 2.49
P1 | 1 | 0 | 1.62
P1 | 1 | 2400 | 2.85
P1 | 1 | 2400 | 3.4
P1 | 1 | 2800 | 4
P1 | 1 | 2800 | 4.47
P1 | 1 | 1860 | 4.7
P1 | 1 | 930 | 2.29
P1 | 1 | 0 | 0.96
P1 | 1 | 0 | 0.89
P1 | 1 | 2800 | 4.44
P1 | 1 | 2800 | 4.75
P1 | 1 | 3200 | 5.41
P1 | 1 | 3200 | 5.97
P1 | 1 | 2100 | 4.05
P1 | 1 | 2100 | 4.87
P1 | 1 | 1050 | 3.5
P1 | 1 | 0 | 1.651
P1 | 2 | 0 | 0
P1 | 2 | 200 | 0.25
P1 | 2 | 850 | 0.95
P1 | 2 | 1720 | 2.03
P1 | 2 | 2150 | 2.62
P1 | 2 | 2960 | 3.89
P1 | 2 | 3490 | 5.08
P1 | 2 | 3880 | 6.53
P1 | 2 | 4050 | 8.51
P1 | 2 | 4146 | 10.6
P1 | 2 | 4145 | 12.8
P1 | 2 | 4220 | 14.48
P1 | 2 | 4180 | 15.95
P1 | 2 | 4260 | 18.64
P1 | 2 | 4300 | 20.4
P2 | 1 | 0 | 0
P2 | 1 | 300 | 0.15
P2 | 1 | 600 | 0.483
P2 | 1 | 600 | 0.559
P2 | 1 | 900 | 0.965
P2 | 1 | 900 | 1.041
P2 | 1 | 1200 | 1.509
P2 | 1 | 1200 | 1.575
P2 | 1 | 0 | 0.127
P2 | 1 | 1200 | 1.6
P2 | 1 | 1200 | 1.702
P2 | 1 | 1500 | 2.083
P2 | 1 | 1500 | 2.26
P2 | 1 | 1000 | 1.727
P2 | 1 | 500 | 1.14
P2 | 1 | 0 | 0.25
P2 | 1 | 1500 | 2.184
P2 | 1 | 1500 | 2.235
P2 | 1 | 1800 | 2.789
P2 | 1 | 1800 | 2.972
P2 | 1 | 1200 | 2.29
P2 | 1 | 600 | 1.52
P2 | 1 | 0 | 0.63
P2 | 1 | 1800 | 2.946
P2 | 1 | 1800 | 3.124
P2 | 1 | 2100 | 3.556
P2 | 1 | 2100 | 3.708
P2 | 1 | 1400 | 2.946
P2 | 1 | 700 | 2.08
P2 | 1 | 0
P2 | 1 | 2100 | 3.76
P2 | 1 | 2400 | 4.191
P2 | 1 | 2400 | 4.496
P2 | 1 | 1600 | 3.607
P2 | 1 | 800 | 2.49
P2 | 1 | 0 | 1.07
P2 | 2 | 0 | 1.0922
P2 | 2 | 70 | 1.168
P2 | 2 | 250 | 1.1372
P2 | 2 | 650 | 1.88
P2 | 2 | 1220 | 2.616
P2 | 2 | 1550 | 3.149
P2 | 2 | 1750 | 3.429
P2 | 2 | 2070 | 3.911
P2 | 2 | 2250 | 4.191
P2 | 2 | 2450 | 4.496
P2 | 2 | 2640 | 4.826
P2 | 2 | 2940 | 5.359
P2 | 2 | 3100 | 5.4912
P2 | 2 | 3300 | 6.375
P2 | 2 | 3540 | 6.96
P2 | 2 | 3630 | 7.315
P4 | 1 | 0 | 0
P4 | 1 | 200 | 0.23
P4 | 1 | 400 | 0.64
P4 | 1 | 600 | 1.04
P4 | 1 | 800 | 1.46
P4 | 1 | 0 | 0.24
P4 | 1 | 0 | 0.254
P4 | 1 | 800 | 1.52
P4 | 1 | 1000 | 1.9
P4 | 1 | 660 | 1.47
P4 | 1 | 330 | 0.99
P4 | 1 | 0 | 0.38
P4 | 1 | 0 | 0.3
P4 | 1 | 1000 | 1.9
P4 | 1 | 1200 | 2.4
P4 | 1 | 800 | 1.9
P4 | 1 | 400 | 1.19
P4 | 1 | 0 | 0.56
P4 | 1 | 0 | 0.56
P4 | 1 | 1200 | 2.51
P4 | 1 | 1400 | 2.97
P4 | 1 | 1400 | 3.09
P4 | 1 | 920 | 2.46
P4 | 1 | 460 | 1.75
P4 | 1 | 460 | 1.6
P4 | 1 | 0 | 0.91
P4 | 1 | 0 | 0.91
P4 | 1 | 1400 | 3.12
P4 | 1 | 1600 | 3.6
P4 | 1 | 1600 | 3.84
P4 | 1 | 106 | 3.09
P4 | 1 | 51 | 2.06
P4 | 1 | 0 | 0.91
P4 | 2 | 0 | 0
P4 | 2 | 25 | 0.38
P4 | 2 | 83 | 1.4
P4 | 2 | 1140 | 1.93
P4 | 2 | 1430 | 2.46
P4 | 2 | 1770 | 3.25
P4 | 2 | 2020 | 3.99
P4 | 2 | 2230 | 4.8
P4 | 2 | 2360 | 5.89
P4 | 2 | 2370 | 7.9
P4 | 2 | 2360 | 10.97
P4 | 2 | 2330 | 13.53
P5 | 1 | 0 | 0
P5 | 1 | 400 | 0.43
P5 | 1 | 400 | 0.48
P5 | 1 | 800 | 1
P5 | 1 | 800 | 1.06
P5 | 1 | 1200 | 1.67
P5 | 1 | 1200 | 1.79
P5 | 1 | 1600 | 2.35
P5 | 1 | 1600 | 2.53
P5 | 1 | 0 | 0.52
P5 | 1 | 0 | 0.38
P5 | 1 | 1600 | 2.43
P5 | 1 | 1600 | 2.54
P5 | 1 | 2000 | 3.21
P5 | 1 | 2000 | 3.55
P5 | 1 | 1400 | 2.83
P5 | 1 | 750 | 1.93
P5 | 1 | 0 | 0.91
P5 | 1 | 0 | 0.91
P5 | 1 | 2000 | 3.58
P5 | 1 | 2000 | 3.66
P5 | 1 | 2400 | 3.32
P5 | 1 | 2400 | 4.5
P5 | 1 | 1600 | 3.67
P5 | 1 | 800 | 2.58
P5 | 1 | 0 | 1.35
P5 | 1 | 0 | 1.05
P5 | 1 | 2400 | 4.4
P5 | 1 | 2400 | 4.67
P5 | 1 | 2800 | 5.44
P5 | 1 | 2800 | 5.75
P5 | 1 | 1866 | 4.69
P5 | 1 | 933 | 3.46
P5 | 1 | 0 | 1.79
P5 | 1 | 0 | 1.62
P5 | 1 | 2800 | 5.76
P5 | 1 | 2800 | 6.06
P5 | 1 | 3200 | 6.64
P5 | 1 | 3200 | 7.71
P5 | 1 | 2133 | 6.39
P5 | 1 | 1067 | 4.83
P5 | 1 | 0 | 2.87
P5 | 1 | 0 | 2.34
P5 | 2 | 0 | 0
P5 | 2 | 240 | 0.3
P5 | 2 | 430 | 0.5
P5 | 2 | 580 | 0.8
P5 | 2 | 960 | 1.21
P5 | 2 | 1250 | 1.6
P5 | 2 | 1510 | 2.04
P5 | 2 | 1800 | 2.5
P5 | 2 | 2100 | 2.94
P5 | 2 | 2330 | 3.36
P5 | 2 | 2590 | 3.85
P5 | 2 | 2860 | 4.35
P5 | 2 | 3150 | 4.85
P5 | 2 | 3390 | 5.4
P5 | 2 | 3600 | 5.92
P5 | 2 | 3830 | 6.54
P5 | 2 | 4030 | 7.23
P5 | 2 | 4160 | 7.92
P5 | 2 | 4260 | 8.64
P5 | 2 | 4340 | 9.5
P5 | 2 | 4390 | 10.3
P5 | 2 | 4430 | 10.39
P5 | 2 | 4440 | 11.38
P5 | 2 | 4440 | 12.19
P5 | 2 | 4440 | 12.94
P5 | 2 | 4440 | 13.74
P5 | 2 | 4440 | 14.57
P5 | 2 | 4460 | 15.47
P5 | 2 | 4460 | 16.34
P5 | 2 | 4460 | 17.19
P5 | 2 | 4470 | 18.04
P5 | 2 | 4470 | 18.91
P6 | 1 | 0 | 0
P6 | 1 | 513 | 0.45
P6 | 1 | 895 | 0.82
P6 | 1 | 1320 | 1.22
P6 | 1 | 1320 | 1.28
P6 | 1 | 1760 | 1.72
P6 | 1 | 1760 | 1.81
P6 | 1 | 0 | 0.45
P6 | 1 | 0 | 0.39
P6 | 1 | 1760 | 1.97
P6 | 1 | 1760 | 1.99
P6 | 1 | 2210 | 2.42
P6 | 1 | 2210 | 2.51
P6 | 1 | 1500 | 2.02
P6 | 1 | 780 | 1.37
P6 | 1 | 0 | 0.66
P6 | 1 | 0 | 0.53
P6 | 1 | 2180 | 2.1
P6 | 1 | 2680 | 2.73
P6 | 1 | 1750 | 2.21
P6 | 1 | 900 | 1.45
P6 | 1 | 0 | 0.59
P6 | 1 | 0 | 0.54
P6 | 1 | 2700 | 3
P6 | 1 | 2700 | 3.07
P6 | 1 | 3120 | 3.59
P6 | 1 | 2050 | 2.98
P6 | 1 | 1050 | 2.04
P6 | 1 | 0 | 0.96
P6 | 1 | 0 | 0.6
P6 | 1 | 3140 | 3.72
P6 | 1 | 3540 | 4.34
P6 | 1 | 3540 | 4.86
P6 | 1 | 2380 | 3.98
P6 | 1 | 1210 | 2.85
P6 | 1 | 0 | 1.39
P6 | 2 | 0 | 0
P6 | 2 | 430 | 2.3
P6 | 2 | 650 | 2.5
P6 | 2 | 980 | 2.8
P6 | 2 | 1330 | 3.15
P6 | 2 | 1700 | 3.55
P6 | 2 | 2070 | 3.99
P6 | 2 | 2400 | 4.43
P6 | 2 | 2780 | 4.91
P6 | 2 | 3350 | 5.76
P6 | 2 | 3820 | 6.87
P6 | 2 | 4050 | 8.23
P6 | 2 | 4030 | 9.85
P6 | 2 | 3990 | 11.39
P6 | 2 | 3960 | 13.12
P6 | 2 | 3950 | 14.95
P6 | 2 | 3940 | 16.86
P6 | 2 | 3920 | 18.33
P6 | 2 | 3910 | 19.88
P6 | 2 | 3910 | 21.65

## CTST
TEST_ID | Pile ID | Type of test/Size | Test age | Strength | Remarks
CTST_ID | PILE_ID | CTST_TYPE | CTST_AGE | CTST_STRN | CTST_REM
ID | ID | mm | Days | kPa

## CYCL
PILE ID | Test ID | Cycle No. | Qmin | Qmax | Duration of respective cycling between Qmin and Qmax Time (mins) | Cumulative number of cycle repetitions (n) | Total Settlement over duration of repetitive cycling (mm) | Description
PILE_ID | PTST_ID | CYCL_CYC | CYCL_LOA1 | CYCL_SET1 | CYCL_TIME | CYCL_REP | CYCL_SET1 | PSLT_DESC
ID | ID |  | kN | mm | Minutes |  | mm