## PROJ
ID | R05
Name | Analysis of a rapid load test on an instrumented bored pile in clay
Location | Waltham, GRIMSBY DEPOT, Grimsby
Year | 2001
Remarks
Reference Level | 20
Level Source | NGRF
Groundwater depth
Reference | Brown MJ, Hyde AF and Anderson WF (2006) Analysis of a rapid load test on an instrumented bored pile in clay. Géotechnique 56(9):627-38; Brown MJ (2004) The rapid load testing of piles in fine grained soils. PhD Thesis, University of Sheffield, UK.

## LOCA
Hole ID | Easting (X) | Northing (Y) | Ground Level (Z) | Final depth | Co-ordinate Source | Location Remarks
LOCA_ID | LOCA_NATE | LOCA_NATN | LOCA_GL | LOCA_FDEP | LOCA_SOU | LOCA_REM
ID | m | m | m | m
SITE | 527814 | 401664 | 0
BH1 |  |  | 0
BH2 |  |  | 0

## GEOL
Hole ID | Top Depth | Base Depth | Legend code | Geology code | General description of stratum
LOCA_ID | GEOL_TOP | GEOL_BASE | GEOL_LEG | GEOL_GEOL | GEOL_DESC
ID | m | m
SITE | 0 | 0.3 | 203 | BOC | Firm to stiff, slightly sandy, mottled orange brown clay with occasional black organic fragments
SITE | 0.3 | 2.7 | 220 | BOC | Firm to very stiff, slightly gravely, light orangey Brown Clay with occasional black organic fragments and extremely close spaced thin lamina of silt, gravel fine to medium, rounded to sub-rounded
SITE | 2.7 | 23.05 | 201 | BOC | Firm to very stiff, greyish brown to dark brown CLAY with occasional coarse gravel and rare cobbes, gravel fine to medium, rounded to sub-rounded. 4.2m firm to stiff . 9.2m thin lens of fine, silty brown sand (BH2 only). at -10.45 becoming Stiff
BH1 | 0 | 0.3 | 103 | MGR | Brown, mottled rust brown silty, slightly sandy CLAY containing fragments of brick, small stones and other assorted gravel.
BH1 | 0.3 | 0.9 | 202 | BOC | Firm to stiff, light orange brown, mottled light grey, silty, sandy CLAY containing assorted fine gravel.
BH1 | 0.9 | 2 | 202 | BOC | Stiff, brown, mottled light grey, silty, sandy CLAY containing assorted gravel.
BH1 | 2 | 11 | 202 | BOC | Stiff, dark brown, occasionally mottled light grey, silty, slightly sandy Clay containing chalk and other assorted gravel. Firm to stiff between 5 m and 7.5 m.
BH1 | 11 | 20.35 | 202 | BOC | Stiff, dark brown, silty, slightly sandy Clay containing fragments of chalk and other assorted sub rounded gravel.
BH2 | 0 | 0.5 | 103 | MGR | Loose, assorted brick and concrete rubble in a matrix of brown silty and sandy 'soil'. Brown, silty, sandy clay containing fragments of coal, sand stone, brick and other assorted gravel. Made ground
BH2 | 0.5 | 0.9 | 202 | BOC | Firm to stiff, brown, silty, slightly sandy CLAY containing ocasional small fragments of coal, sandstone, old red sandstone and other assorted gravel.
BH2 | 0.9 | 3.9 | 202 | BOC | Stiff to very stiff, brown, mottled orange brown and grey silty, slightly sandy CLAY containing occasional small fragments of chalk and other assorted gravel.
BH2 | 3.9 | 10.5 | 202 | BOC | Generally stiff, dark brown, silty, slightly sandy CLAY containing occasional small fragments of chalk, coal and other assorted gravel. At 9.25, thin lens of wet, brown, silty SAND.
BH2 | 10.5 | 15.4 | 202 | BOC | Dark brown, silty, slightly sandy clay containing occasional small fragments of chalk, coal and other assorted gravel.

## LLPL
Hole ID | Top Depth | Moisture Content | Liquid Limit | Plastic Limit | Plasticity Index | Percentage passing | Specimen Description
LOCA_ID | SAMP_TOP | LLPL_MC | LLPL_LL | LLPL_PL | LLPL_PI | LLPL_425 | SPEC_DESC
ID | m | % | % | % | % | %

## ISPT
Hole ID | Test Depth | Corrected | N Value
LOCA_ID | ISPT_TOP | ISPT_CORR | ISPT_SPTN
m
SITE | 1.55 |  | 26
SITE | 2.65 |  | 18
SITE | 3.7 |  | 16
SITE | 4.8 |  | 12
SITE | 6 |  | 11
SITE | 7.2 |  | 14
SITE | 8.55 |  | 16
SITE | 9.85 |  | 18
SITE | 11.15 |  | 21
SITE | 12.6 |  | 19
SITE | 13.9 |  | 24
SITE | 15.3 |  | 27
SITE | 16.5 |  | 23
SITE | 17.8 |  | 29
SITE | 19.1 |  | 26

## TRIG
BH ID | Top Depth | Sample Ref | Test Type | Sample Condition | Specimen Diameter | Undrained shear strength at failure | Remarks
LOCA_ID | SAMP_TOP | SAMP_REF | TRIG_TYPE | TRIG_COND | TRIT_SDIA | TRIT_CU | TRIG_REM
ID | m |  |  |  | mm | kPa
SITE | 0.95906 |  | UUM | UNDISTURBED | 100 | 99.1007
SITE | 2.5386 |  | UUM | UNDISTURBED | 100 | 287.8078
SITE | 4.3062 |  | UUM | UNDISTURBED | 100 | 126.5854
SITE | 7.8043 |  | UUM | UNDISTURBED | 100 | 101.8997
SITE | 9.6083 |  | UUM | UNDISTURBED | 100 | 67.6873
SITE | 11.8437 |  | UUM | UNDISTURBED | 100 | 103.5775
SITE | 13.3076 |  | UUM | UNDISTURBED | 100 | 105.7206
SITE | 14.7028 |  | UUM | UNDISTURBED | 100 | 133.6855
SITE | 17.1411 |  | UUM | UNDISTURBED | 100 | 182.2288
SITE | 4.3351 |  | HSV | UNDISTURBED |  | 74.9392
SITE | 6.5039 |  | HSV | UNDISTURBED |  | 74.9911
SITE | 7.1004 |  | HSV | UNDISTURBED |  | 72.8974
SITE | 7.6966 |  | HSV | UNDISTURBED |  | 81.3438
SITE | 8.2664 |  | HSV | UNDISTURBED |  | 65.5472
SITE | 9.1739 |  | HSV | UNDISTURBED |  | 86.6493
SITE | 9.7303 |  | HSV | UNDISTURBED |  | 66.6363
SITE | 1.6202 |  | UU | UNDISTURBED | 38 | 188.7081
SITE | 1.81 |  | UU | UNDISTURBED | 38 | 188.7127
SITE | 1.9727 |  | UU | UNDISTURBED | 38 | 188.7166
SITE | 1.8476 |  | UU | UNDISTURBED | 38 | 278.3051
SITE | 3.1939 |  | UU | UNDISTURBED | 38 | 152.3822
SITE | 3.1936 |  | UU | UNDISTURBED | 38 | 160.8143
SITE | 3.3559 |  | UU | UNDISTURBED | 38 | 170.8314
SITE | 3.3557 |  | UU | UNDISTURBED | 38 | 177.6825
SITE | 3.3688 |  | UU | UNDISTURBED | 38 | 189.277
SITE | 3.5043 |  | UU | UNDISTURBED | 38 | 191.3883
SITE | 3.9251 |  | UU | UNDISTURBED | 38 | 172.426
SITE | 3.8714 |  | UU | UNDISTURBED | 38 | 158.7225
SITE | 4.2243 |  | UU | UNDISTURBED | 38 | 143.9747
SITE | 4.4145 |  | UU | UNDISTURBED | 38 | 131.331
SITE | 4.5099 |  | UU | UNDISTURBED | 38 | 116.5771
SITE | 4.6176 |  | UU | UNDISTURBED | 38 | 137.66
SITE | 4.8492 |  | UU | UNDISTURBED | 38 | 103.41
SITE | 4.8759 |  | UU | UNDISTURBED | 38 | 117.6399
SITE | 4.8888 |  | UU | UNDISTURBED | 38 | 134.5045
SITE | 4.9017 |  | UU | UNDISTURBED | 38 | 154.0041
SITE | 5.0648 |  | UU | UNDISTURBED | 38 | 141.3598
SITE | 5.0388 |  | UU | UNDISTURBED | 38 | 110.7926
SITE | 5.2693 |  | UU | UNDISTURBED | 38 | 108.1631
SITE | 5.4856 |  | UU | UNDISTURBED | 38 | 125.0326
SITE | 5.4732 |  | UU | UNDISTURBED | 38 | 90.7767
SITE | 5.7711 |  | UU | UNDISTURBED | 38 | 101.324
SITE | 6.1099 |  | UU | UNDISTURBED | 38 | 102.9132
SITE | 6.232 |  | UU | UNDISTURBED | 38 | 98.173
SITE | 6.2862 |  | UU | UNDISTURBED | 38 | 100.8093
SITE | 6.3 |  | UU | UNDISTURBED | 38 | 93.9586
SITE | 6.4086 |  | UU | UNDISTURBED | 38 | 88.6911
SITE | 7.0171 |  | UU | UNDISTURBED | 38 | 130.3394
SITE | 7.7651 |  | UU | UNDISTURBED | 38 | 58.684
SITE | 8.6599 |  | UU | UNDISTURBED | 38 | 55.0164
SITE | 9.5399 |  | UU | UNDISTURBED | 38 | 87.185

## CULN
BH ID | Trend Description | z0 definition | Gradient | Intercept
LOCA_ID | CULN_NAME | CULN_ZDEF | CULN_EQU1 | CULN_EQU2
ID |  | m | kPa/m | kPa

## CONS
BH ID | Top Depth | Sample Ref | Sample Condition | Coefficient of volume compressibility | Coefficient of consolidation
LOCA_ID | SAMP_TOP | SAMP_REF | CONS_COND | CONS_INMV | CONS_CVRT
ID | m |  |  | m²/MN | m²/yr

## WSTG
Hole ID | Depth to water strike | Remarks
LOCA_ID | WSTG_DPTH | WSTG_REM
ID | m

## PIEZ
BH ID | Top Depth | Sample Ref | Piezometric Head
LOCA_ID | SAMP_TOP | SAMP_REF | PIEZ_HEAD
ID | m |  | m

## PILE
Pile ID | Pile Material | Pile Type/Installation Method | Total Time to Install | Ground Level (Z) | Pile Length | Upstand | Cut-off-level (C.O.L) | Pile Base Level | Casing Base Depth | Casing Type | Pile Shaft Circumference | Pile Shaft Area | Pile Base Area | Pile Shape | Pile Key Dimension | Pile Base Dimension | Pile Undeream Height | Pile Wall Thickness | Working or test pile | Rake (1:n from vertical) | Design Working Load | Design Verification Load (DVL) | Concrete mix designation | Concrete strength class | Concrete design class | Supprt fluid type | Pile Cap Details | Pile Remarks
PILE_ID | PILE_CON | PILE_INST | PILE_TIM | PILE_GL | PILE_LEN | PILE_UPS | PILE_CUT | PILE_BASE | PILE_SLVD | PILE_CAS | PILE_CIRC | PILE_ASH | PILE_ABS | PILE_SHAP | PILE_DIM | PILE_BDIM | PILE_UNDH | PILE_THCK | PILE_PURP | PILE_RAKE | PILE_DSWL | PILE_DVL | PILE_CDES | PILE_CSTR | PILE_CDC | PILE_FYTP | PILE_CAP | PILE_REM
ID |  |  | Days | m | m | m | m | m | m |  | m | m² | m² |  | m | m | m | m |  |  | kN | kN
A | Concrete | Bored (Auger) |  | 0 | 12.55 | 0.48 |  | -12.07 | 1.8 | steel | 1.885 | 0.28274 | 0.28274 | Circular | 0.6 | 0.6 |  | 0.01

## BORE
Pile ID | Time start of Prebore | Time Shaft Bored | Time Base Bored | Time Concreted | Diameter of Bore/outside casing | Bored Pile Remarks | Base or Shaft Grouting Details
PILE_ID | BORE_PRE | BORE_SHAF | BORE_BASE | BORE_CONC | BORE_DIA | BORE_REM | BORE_GRO
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm
A |  |  |  |  | 610 | Bored to a depth of 2m bgl. Steel casing of diameter 610mm inserted to 1.8m bgl with 480mm above ground.

## DRIV
Pile ID | Time to Pre Bore | Time to End of driving/Driving time | Rate of Driving During Installation | Time of cast in place | No. of Blows | Penetration Increment | Driving Shoe Details/Diameter | Base or Shaft Grouting Details | Driven Piles Remarks
PILE_ID | DRIV_PRE | DRIV_TIM | DRIV_INST | DRIV_CAST | DRIV_BLOW | DRIV_PEN | DRIV_SHOE | DRIV_GRO | DRIV_REM
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm/min | m |  | mm

## PTST
Pile ID | Test ID | Test loading type | Time from Install (No. of days) | Test rate | Pile Test Remarks
PILE_ID | PTST_ID | PTST_TYPE | PTST_TIM | PTST_RATE | PTST_REM
ID | ID |  | Days | mm/hr
A | 1 |  | 35 |  | STN TEST. Five cycles undertaken at increments of load of 1000kN, 1500, 2000, 2500, 3000.
A | 2 | CRP | 56
A | 3 | ML | 61

## PSLT
PILE ID | Test ID | Load on Load cell 1 | Settlement at Load cell 1 | Time (seconds) | Load cell 2 Depth/Pile Length | Load on Load cell 2 | Settlement at Load cell 2 | Load cell 3 Depth/Pile Length | Load on Load cell 3 | Settlement at Load cell 3 | Load cell 4 Depth/Pile Length | Load on Load cell 4 | Settlement at Load cell 4 | Description
PILE_ID | PTST_ID | PSLT_LOA1 | PSLT_SET1 | PSTL_TIME | PSLT_LOC2 | PSLT_LOA2 | PSLT_SET2 | PSLT_LOC3 | PSLT_LOA3 | PSLT_SET3 | PSLT_LOC4 | PSLT_LOA4 | PSLT_SET4 | PSLT_DESC
ID | ID | kN | mm | Seconds |  | kN | mm |  | kN | mm |  | kN | mm
A | 1 | 154.36 | 0.13584 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 317.542 | 0.31795 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 480.7342 | 0.77891 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 621.8724 | 1.1474 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 758.597 | 1.4231 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 882.0945 | 1.7921 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 1040.8835 | 2.439 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 1120.2762 | 2.716 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 1159.988 | 3.2728 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 1062.9581 | 3.0892 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 899.7692 | 2.7212 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 745.4007 | 2.3529 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 586.622 | 1.9848 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 476.3549 | 1.6156 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 321.9795 | 1.0615 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 132.3264 | 0.60111 | [10 empty] | 1st cycle(1000 KN)
A | 1 | 35.3136 | 0.88222 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 145.5807 | 1.2515 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 269.0851 | 1.8063 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 467.5619 | 2.3594 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 710.1367 | 2.8185 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 868.9085 | 3.0007 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1036.4972 | 3.0898 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1168.8185 | 3.5515 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1323.1836 | 3.8267 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1517.2605 | 4.6588 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1627.5277 | 5.028 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1698.1172 | 5.77 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1640.7991 | 6.1431 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1565.8301 | 6.2378 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1446.7461 | 5.9617 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1296.7809 | 5.4075 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1155.6462 | 5.1319 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 1032.152 | 4.856 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 877.7835 | 4.4877 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 696.9472 | 3.9342 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 458.7724 | 3.1962 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 260.2956 | 2.6431 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 150.0319 | 2.3668 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 44.1817 | 2.1833 | [10 empty] | 2ND CYCLE (1500KN)
A | 1 | 35.358 | 2.0906 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 114.7439 | 2.1817 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 172.0962 | 2.7381 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 260.3161 | 3.2008 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 361.7664 | 3.6632 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 524.9689 | 4.403 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 674.9273 | 4.7713 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 802.8299 | 5.0007 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1032.1759 | 5.5066 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1283.5641 | 5.7796 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1455.5698 | 6.0545 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1649.6399 | 6.7006 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1808.4151 | 6.9758 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1953.9771 | 7.716 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 2033.3732 | 8.086 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 2042.2106 | 8.5505 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1989.3094 | 9.1095 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1861.4188 | 9.2054 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1587.9833 | 9.0258 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1402.7472 | 8.7513 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1151.3556 | 8.3853 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 1036.6851 | 8.2021 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 754.4123 | 7.558 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 432.4243 | 6.2642 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 273.6217 | 5.2454 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 167.7544 | 4.5972 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 79.5311 | 4.0415 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 35.4195 | 3.7637 | [10 empty] | 3RD CYCLE (2000KN)
A | 1 | 154.5137 | 4.3186 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 313.289 | 4.5938 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 472.0779 | 5.2408 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 604.3855 | 5.3306 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 780.815 | 5.9772 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 988.1087 | 6.4371 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 1230.6903 | 7.0822 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 1420.3433 | 7.5425 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 1632.0505 | 8.0953 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 1817.2935 | 8.5558 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2015.7634 | 8.9229 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2205.4165 | 9.3833 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2359.7885 | 9.8445 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2452.4185 | 10.3071 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2523.0046 | 10.9561 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2505.3914 | 11.7001 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2430.4429 | 12.3525 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2337.8471 | 12.8194 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2209.953 | 12.8224 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 2037.9576 | 12.8264 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 1861.5418 | 12.5516 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 1667.4888 | 12.3702 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 1358.7619 | 11.9127 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 1204.4173 | 12.1951 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 1041.2182 | 11.5482 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 860.3889 | 11.1806 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 635.4444 | 10.4422 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 529.5942 | 10.2588 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 436.9574 | 9.6103 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 295.8056 | 8.87 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 163.457 | 7.6647 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 114.9215 | 7.0151 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 75.22 | 6.7372 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 39.9389 | 6.738 | [10 empty] | 4TH CYCLE(2500K)
A | 1 | 150.1856 | 6.5496 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 256.0358 | 6.733 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 450.1058 | 7.3792 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 675.0434 | 7.9316 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 882.3337 | 8.2986 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 1036.6988 | 8.5739 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 1283.6837 | 9.0329 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 1464.5131 | 9.4005 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 1645.3459 | 9.8611 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 1870.2801 | 10.3206 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2117.2752 | 11.0585 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2342.2094 | 11.518 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2496.578 | 11.8862 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2699.4649 | 12.4392 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2818.5523 | 12.8082 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2959.7007 | 13.4556 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 3061.1578 | 14.1039 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 3065.5953 | 14.8474 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 3034.7448 | 15.4059 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2871.614 | 16.618 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2686.4155 | 17.3659 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2487.9661 | 17.5564 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 2188.0663 | 17.2846 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 1985.1965 | 17.1963 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 1791.1401 | 16.922 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 1438.3153 | 16.5584 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 1226.6149 | 16.1915 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 979.6266 | 15.6395 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 710.5773 | 14.8092 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 494.4395 | 13.6988 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 300.3455 | 12.402 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 181.2274 | 11.1964 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 97.404 | 10.3618 | [10 empty] | 5TH CYCLE (3000KN)
A | 1 | 44.4857 | 10.456 | [10 empty] | 5TH CYCLE (3000KN)
A | 2 | 0 | 0
A | 2 | 865.5287 | 1.44
A | 2 | 1582.4313 | 4.2514
A | 2 | 1872.398 | 7.1314
A | 2 | 1965.6536 | 10.1143
A | 2 | 2016.6528 | 12.6857
A | 2 | 2060.3664 | 15.8057
A | 2 | 2099.7086 | 18.6514
A | 2 | 2131.7652 | 21.5314
A | 2 | 2160.9076 | 24.24
A | 2 | 1729.6003 | 26.3314
A | 2 | 0 | 21.9771
A | 3 | 0 | 0
A | 3 | 571.1907 | 0.82286
A | 3 | 1049.1257 | 2.0571
A | 3 | 1232.7227 | 2.7429
A | 3 | 1343.4638 | 3.1543
A | 3 | 1355.1207 | 5.8286
A | 3 | 1454.2048 | 5.9
A | 3 | 1535.8035 | 6.72
A | 3 | 1567.8601 | 7.8171
A | 3 | 1570.7744 | 11.4514
A | 3 | 1675.6869 | 11.7257
A | 3 | 1739.8002 | 12.5486
A | 3 | 1783.5137 | 14.1943
A | 3 | 1795.1707 | 17.6914
A | 3 | 1798.0849 | 23.04
A | 3 | 1011.2406 | 22.1143
A | 3 | 282.6811 | 20.3657
A | 3 | 0 | 19.3371
A | 3 | 0 | 0

## CTST
TEST_ID | Pile ID | Type of test/Size | Test age | Strength | Remarks
CTST_ID | PILE_ID | CTST_TYPE | CTST_AGE | CTST_STRN | CTST_REM
ID | ID | mm | Days | kPa

## CYCL
PILE ID | Test ID | Cycle No. | Qmin | Qmax | Duration of respective cycling between Qmin and Qmax Time (mins) | Cumulative number of cycle repetitions (n) | Total Settlement over duration of repetitive cycling (mm) | Description
PILE_ID | PTST_ID | CYCL_CYC | CYCL_LOA1 | CYCL_SET1 | CYCL_TIME | CYCL_REP | CYCL_SET1 | PSLT_DESC
ID | ID |  | kN | mm | Minutes |  | mm