## PROJ
ID | R37_01
Name | Case A1: Magdalen Hospital
Location | Lambeth, London
Year | 1988
Remarks
Reference Level | 46
Level Source | Spot height
Groundwater depth | 1
Reference | Patel DC (1989) A Case Study of the Shaft Friction of Bored Piles in London Clay in Terms of Total and Effective Stresses. MSc Dissertation, Imperial College London, UK

## LOCA
Hole ID | Easting (X) | Northing (Y) | Ground Level (Z) | Final depth | Co-ordinate Source | Location Remarks
LOCA_ID | LOCA_NATE | LOCA_NATN | LOCA_GL | LOCA_FDEP | LOCA_SOU | LOCA_REM
ID | m | m | m | m
SITE | 529800 | 172700 | 0

## GEOL
Hole ID | Top Depth | Base Depth | Legend code | Geology code | General description of stratum
LOCA_ID | GEOL_TOP | GEOL_BASE | GEOL_LEG | GEOL_GEOL | GEOL_DESC
ID | m | m
SITE | 0 | 1 | 102 | MGR | Fill
SITE | 1 | 11 | 201 | LC | London Clay

## LLPL
Hole ID | Top Depth | Moisture Content | Liquid Limit | Plastic Limit | Plasticity Index | Percentage passing | Specimen Description
LOCA_ID | SAMP_TOP | LLPL_MC | LLPL_LL | LLPL_PL | LLPL_PI | LLPL_425 | SPEC_DESC
ID | m | % | % | % | % | %
SITE | 5.5 | 26 | 53 |  | 32 |  | Site minimum
SITE | 5.5 | 30 | 87 |  | 56 |  | Site maximum

## ISPT
Hole ID | Test Depth | Corrected | N Value
LOCA_ID | ISPT_TOP | ISPT_CORR | ISPT_SPTN
m

## TRIG
BH ID | Top Depth | Sample Ref | Test Type | Sample Condition | Specimen Diameter | Undrained shear strength at failure | Remarks
LOCA_ID | SAMP_TOP | SAMP_REF | TRIG_TYPE | TRIG_COND | TRIT_SDIA | TRIT_CU | TRIG_REM
ID | m |  |  |  | mm | kPa
SITE | 1.5092 |  | TRIG |  |  | 93.6952
SITE | 1.7585 |  | TRIG |  |  | 47.6919
SITE | 1.7717 |  | TRIG |  |  | 65.1187
SITE | 2.5066 |  | TRIG |  |  | 74.4704
SITE | 2.769 |  | TRIG |  |  | 65.4361
SITE | 2.8215 |  | TRIG |  |  | 93.418
SITE | 3.4777 |  | TRIG |  |  | 74.2653
SITE | 3.7139 |  | TRIG |  |  | 92.7013
SITE | 3.7927 |  | TRIG |  |  | 159.7621
SITE | 4.4357 |  | TRIG |  |  | 86.7389
SITE | 4.4751 |  | TRIG |  |  | 160.1461
SITE | 4.6194 |  | TRIG |  |  | 91.9818
SITE | 5.2887 |  | TRIG |  |  | 114.5517
SITE | 5.5118 |  | TRIG |  |  | 156.2299
SITE | 5.5249 |  | TRIG |  |  | 129.8187
SITE | 6.2861 |  | TRIG |  |  | 153.4255
SITE | 6.3911 |  | TRIG |  |  | 171.361
SITE | 6.4042 |  | TRIG |  |  | 148.647
SITE | 7.2835 |  | TRIG |  |  | 150.5739
SITE | 7.3097 |  | TRIG |  |  | 184.3712
SITE | 7.3228 |  | TRIG |  |  | 140.5304
SITE | 8.2152 |  | TRIG |  |  | 172.032
SITE | 8.2283 |  | TRIG |  |  | 119.7405
SITE | 8.2283 |  | TRIG |  |  | 164.1067
SITE | 9.0945 |  | TRIG |  |  | 169.7336
SITE | 9.1076 |  | TRIG |  |  | 128.5336
SITE | 9.1076 |  | TRIG |  |  | 159.6956

## CULN
BH ID | Trend Description | z0 definition | Gradient | Intercept
LOCA_ID | CULN_NAME | CULN_ZDEF | CULN_EQU1 | CULN_EQU2
ID |  | m | kPa/m | kPa
SITE | Design line used by Patel | 1 | 13.7 | 50

## CONS
BH ID | Top Depth | Sample Ref | Sample Condition | Coefficient of volume compressibility | Coefficient of consolidation
LOCA_ID | SAMP_TOP | SAMP_REF | CONS_COND | CONS_INMV | CONS_CVRT
ID | m |  |  | m²/MN | m²/yr

## WSTG
Hole ID | Depth to water strike | Remarks
LOCA_ID | WSTG_DPTH | WSTG_REM
ID | m
SITE | 2.2

## PIEZ
BH ID | Top Depth | Sample Ref | Piezometric Head
LOCA_ID | SAMP_TOP | SAMP_REF | PIEZ_HEAD
ID | m |  | m

## PILE
Pile ID | Pile Material | Pile Type/Installation Method | Total Time to Install | Ground Level (Z) | Pile Length | Upstand | Cut-off-level (C.O.L) | Pile Base Level | Casing Base Depth | Casing Type | Pile Shaft Circumference | Pile Shaft Area | Pile Base Area | Pile Shape | Pile Key Dimension | Pile Base Dimension | Pile Undeream Height | Pile Wall Thickness | Working or test pile | Rake (1:n from vertical) | Design Working Load | Design Verification Load (DVL) | Concrete mix designation | Concrete strength class | Concrete design class | Supprt fluid type | Pile Cap Details | Pile Remarks
PILE_ID | PILE_CON | PILE_INST | PILE_TIM | PILE_GL | PILE_LEN | PILE_UPS | PILE_CUT | PILE_BASE | PILE_SLVD | PILE_CAS | PILE_CIRC | PILE_ASH | PILE_ABS | PILE_SHAP | PILE_DIM | PILE_BDIM | PILE_UNDH | PILE_THCK | PILE_PURP | PILE_RAKE | PILE_DSWL | PILE_DVL | PILE_CDES | PILE_CSTR | PILE_CDC | PILE_FYTP | PILE_CAP | PILE_REM
ID |  |  | Days | m | m | m | m | m | m |  | m | m² | m² |  | m | m | m | m |  |  | kN | kN
TP1 | Concrete | Bored |  | 0 | 7.315 |  |  |  | 1.219 |  | 1.1184 | 0.099538 | 0.099538 | Circular | 0.356 | 0.356 |  |  |  |  | 300
TP2 | Concrete | Bored |  | 0 | 10.06 |  |  |  | 0 |  | 1.1184 | 0.099538 | 0.099538 | Circular | 0.356 | 0.356 |  |  |  |  | 300

## BORE
Pile ID | Time start of Prebore | Time Shaft Bored | Time Base Bored | Time Concreted | Diameter of Bore/outside casing | Bored Pile Remarks | Base or Shaft Grouting Details
PILE_ID | BORE_PRE | BORE_SHAF | BORE_BASE | BORE_CONC | BORE_DIA | BORE_REM | BORE_GRO
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm

## DRIV
Pile ID | Time to Pre Bore | Time to End of driving/Driving time | Rate of Driving During Installation | Time of cast in place | No. of Blows | Penetration Increment | Driving Shoe Details/Diameter | Base or Shaft Grouting Details | Driven Piles Remarks
PILE_ID | DRIV_PRE | DRIV_TIM | DRIV_INST | DRIV_CAST | DRIV_BLOW | DRIV_PEN | DRIV_SHOE | DRIV_GRO | DRIV_REM
ID | yyyy-mm-dd hh:mm | yyyy-mm-dd hh:mm | mm/min | m |  | mm

## PTST
Pile ID | Test ID | Test loading type | Time from Install (No. of days) | Test rate | Pile Test Remarks
PILE_ID | PTST_ID | PTST_TYPE | PTST_TIM | PTST_RATE | PTST_REM
ID | ID |  | Days | mm/hr
TP1 | 1 | ML
TP2 | 1 | ML
TP2 | 2 | CRP |  | 90

## PSLT
PILE ID | Test ID | Load on Load cell 1 | Settlement at Load cell 1 | Time (seconds) | Load cell 2 Depth/Pile Length | Load on Load cell 2 | Settlement at Load cell 2 | Load cell 3 Depth/Pile Length | Load on Load cell 3 | Settlement at Load cell 3 | Load cell 4 Depth/Pile Length | Load on Load cell 4 | Settlement at Load cell 4 | Description
PILE_ID | PTST_ID | PSLT_LOA1 | PSLT_SET1 | PSTL_TIME | PSLT_LOC2 | PSLT_LOA2 | PSLT_SET2 | PSLT_LOC3 | PSLT_LOA3 | PSLT_SET3 | PSLT_LOC4 | PSLT_LOA4 | PSLT_SET4 | PSLT_DESC
ID | ID | kN | mm | Seconds |  | kN | mm |  | kN | mm |  | kN | mm
TP1 | 1 | 0 | 0
TP1 | 1 | 50 | 0.11
TP1 | 1 | 100 | 0.25
TP1 | 1 | 100 | 0.31
TP1 | 1 | 149 | 0.48
TP1 | 1 | 149 | 0.53
TP1 | 1 | 199 | 0.86
TP1 | 1 | 199 | 0.76
TP1 | 1 | 249 | 1.07
TP1 | 1 | 249 | 1.22
TP1 | 1 | 299 | 1.45 | [10 empty] | Load held 24hrs
TP1 | 1 | 299 | 1.88
TP1 | 1 | 200 | 1.8
TP1 | 1 | 100 | 1.35
TP1 | 1 | 0 | 0.91
TP1 | 1 | 0 | 0.81
TP1 | 1 | 299 | 1.83
TP1 | 1 | 299 | 2.11
TP1 | 1 | 349 | 2.36
TP1 | 1 | 349 | 3.15
TP1 | 1 | 399 | 3.58 | [10 empty] | Load held 1.5hrs
TP1 | 1 | 399 | 7.01
TP1 | 1 | 264 | 6.93
TP1 | 1 | 139 | 6.35
TP1 | 1 | 0 | 5.5
TP1 | 1 | 0 | 5.23
TP2 | 1 | 0 | 0
TP2 | 1 | 75 | 0
TP2 | 1 | 150 | 0.03
TP2 | 1 | 224 | 0.06
TP2 | 1 | 299 | 0.33 | [10 empty] | Load held 20hrs
TP2 | 1 | 299 | 0.46
TP2 | 1 | 0 | 0.05
TP2 | 1 | 299 | 0.53
TP2 | 1 | 374 | 0.71
TP2 | 1 | 374 | 0.91
TP2 | 1 | 259 | 0.71
TP2 | 1 | 140 | 0.28
TP2 | 1 | 0 | 0.33
TP2 | 1 | 0 | 0.46
TP2 | 1 | 374 | 0.76
TP2 | 1 | 374 | 0.91
TP2 | 1 | 448 | 1.19
TP2 | 1 | 448 | 1.7
TP2 | 1 | 300 | 1.45
TP2 | 1 | 159 | 0.91
TP2 | 1 | 0 | 0.18
TP2 | 1 | 0 | 0.05
TP2 | 1 | 448 | 1.57 | [10 empty] | Load held 24hrs
TP2 | 1 | 448 | 1.7
TP2 | 1 | 523 | 1.9
TP2 | 1 | 523 | 1.96
TP2 | 1 | 538 | 2.29
TP2 | 1 | 538 | 2.51
TP2 | 1 | 673 | 2.87
TP2 | 1 | 673 | 3.38
TP2 | 1 | 747 | 4.05
TP2 | 1 | 747 | 4.7
TP2 | 2 | 747 | 4.7
TP2 | 2 | 847 | 5.72
TP2 | 2 | 867 | 6.76
TP2 | 2 | 887 | 7.52
TP2 | 2 | 887 | 8.26
TP2 | 2 | 892 | 8.56
TP2 | 2 | 598 | 8.51
TP2 | 2 | 299 | 7.34
TP2 | 2 | 0 | 5.56

## CTST
TEST_ID | Pile ID | Type of test/Size | Test age | Strength | Remarks
CTST_ID | PILE_ID | CTST_TYPE | CTST_AGE | CTST_STRN | CTST_REM
ID | ID | mm | Days | kPa

## CYCL
PILE ID | Test ID | Cycle No. | Qmin | Qmax | Duration of respective cycling between Qmin and Qmax Time (mins) | Cumulative number of cycle repetitions (n) | Total Settlement over duration of repetitive cycling (mm) | Description
PILE_ID | PTST_ID | CYCL_CYC | CYCL_LOA1 | CYCL_SET1 | CYCL_TIME | CYCL_REP | CYCL_SET1 | PSLT_DESC
ID | ID |  | kN | mm | Minutes |  | mm